CHAPTER 7

UTILITIES

7.01		Water and Sewer Department Rules and Regulations

7.02		An Ordinance Authorizing Purchase of $400.00 Bonds

7.03		Cross Connection Control

7.04		Public Water Supply Operations Handbook/Private Well Abandonment

7.05		Service Outside Corporate Limits

7.06		Sewer Use and User Charge Ordinance

7.01	WATER AND SEWER DEPARTMENT RULES AND REGULATIONS

- Compliance with Rules All persons now receiving a water supply from the City of Augusta or being furnished sewer service, or who may hereafter make application therefore, shall be considered as having agreed to be bound by the rules and regulations as filed with the Public Service Commission of Wisconsin.

- No Claims for Damages No person shall enter a claim for damage against the City of Augusta as a water and sewer utility, or any officer thereof, for damage to any pipe, fixture, or for damage of any nature whatsoever caused by the turning off, or turning on, either wholly or partially, of the water supply for the extension, alteration, or repair of any water main or premises supply, or for the discontinuance of the premise water supply for the violation of any rules or regulations of the Augusta Water and Sewer Department.  No claims will be allowed against the City, on account of the interruption of the water supply caused by the breaking of pipes or machinery, or by stoppage for repairs, on account of fire, or other emergency, and no claims shall be allowed for any damage caused by the breakage of any pipe or machinery.

- Handling Water Mains and Service Pipes in Sewer or Other Trenches

- Where excavating machines are used in digging sewers, all water mains shall be maintained at the expense of the contractor.  Contractors must ascertain for themselves the existence and location of all service pipes.  Where they are removed, cut or damaged in the construction of a sewer, the contractor must at his own expense cause them to be replaced or repaired at once.  He must not shut off the water service pipes from any consumer for a period exceeding six (6) hours.

- Settling Main or Services Trenches Trenches in unpaved streets shall be refilled with moist, damp earth, or by means of water tamping.  When water tamping is used, the water shall be turned into the trench after the first twelve (12) inches of back fill has been placed and then the trench shall be kept flooded until the remainder of the back fill has been put in.

It shall be the duty of the superintendent to see that all open ditches for water mains, hydrants, and service pipes are properly guarded to prevent

accident to any person or vehicle and at night there shall be displayed red signal light in such manner as will, so far as possible, insure the safety of the public.

- Establishment of Service

- Service Applications Application for the original installation of sewer service or a supply from the city water main, or for any extension or alteration of any existing supply from the curb line, or within the street property line, shall be filed by the owner of the property or any authorized agent therefore the approval of the superintendent of the sewer and water department prior to the performance of any such work.  If a master plumber, or the owner, makes such application, he shall provide, fully and truly, the legal description of the property, the street location, the officially designation building number, the size and character of the sewer service or supply pipe, and the fixtures or appliances to be supplied. (Note particularly and special refrigeration or air conditioning water consuming appliances).

The superintendent is hereby empowered to withhold approval of any application wherein full information of the purpose of such supply is not clearly and fully set forth by the applicant.

The signing of the application card or permit will constitute a contract for water supplies, and sewer service, and its specific use, which contract embodies these regulations as part of the same.

- Service Connections Each applicant for sewer or water service shall at the time of making application for such service, execute and deliver to the utility a contract for such service, agreeing to put in the service pipe from the curb line to each piece of property to be serviced existing at that point and owned by him, where such service is desired, at the expense of such applicant and to commence the payment for such sewer and water service when a bill is rendered for the same.

No service pipe shall be installed to any lot or parcel of land not now being served unless said lot or parcel of land has a frontage on a regularly platted street or public strip in which a cast iron or other long life water main has been laid and unless the service connection there with is made between the property lines, extended to the main.

The service pipe shall be laid not less than six (6) feet below the surface of any established or proposed grade line.  When water service pipe is laid in a combined sewer and water trench to service shall be laid on a shelf of solid ground not nearer than twelve (12) inches to the side of the sewer trench.

No division of the water service of any lot or parcel of land shall be made for the extension and independent meterage of the supply to an adjoining lot or parcel of land.  No division of a water supply service shall be made at the curb for separate supplies there from for two or more separate premises having frontage on any street or public service strip whether owned by the same or different parties.

No service shall be laid through any trench having cinders, rubbish, rock or gravel fill, or any other material which may cause injury to or disintegration of the service pipe, unless adequate means of protection are provided by sand filling or such insulation as may be approved by the superintendent of the water and sewer department.  Service pipes through curb or retaining walls, shall be adequately safe-guarded by the provision of a channel space or pipe casing, not less than twice the diameter of the service pipe.  The space between the service pipe and the channel or pipe casing shall be filled and lightly caulked with oakum, mastic cement, or other resilient material, and made impervious to moisture.

When a change of direction of a cast iron service is made on either side of a curb or retaining wall, the cast iron fittings shall be securely braced to prevent the loosening or blowing out of the lead in the caulked joints.  The bracing shall be made by concrete backing, or by clamp rods extending from the fitting bell to the next bell or fitting, or by clamp rods securely anchored in the wall.

Such clamp rods shall be not less than 5/8 inch diameter and when buried in soil should be protected against corrosion by painting with tar asphaltum or other suitable means.  Set screws for fastening clamp rods to pipe will not be permitted.

In back filling the pipe trench, the service pipe must be protected against injury by carefully land tamping the ground filling, free from hard lumps, rocks, stones, or other injurious material, around and at least six (6) inches over the pipe.

All water supplies shall be of undiminished size from the street main to and including the outlet value of the water meter.  Beyond the meter outlet value the piping shall be sized and proportioned to provide, on all floors, at all times, an ample and equitable distribution of water supply for the greatest probable number of fixtures or appliance units operation simultaneously.  In no instance, however, shall any water supply pipe to the further most riser or fixture branch be of a smaller diameter than 3/4 inch.

In case it is necessary to install a separate new or larger service to replace an existing small diameter service pipe an allowance equal to fifty (50) percent of the present cost of the installation of the size of service replaced will be made, providing the new service is installed in the same ditch as the existing service.  In no case, however, will this allowance be less than $10.00 and can only be made of the old service can be removed when the new service is installed.

(5)	Meters

(a)	Installation of Meter Meters will be furnished and placed by the utility and are not to be disconnected or interfered with by the consumer.  All meters shall be located so that they shall be preserved from obstructions and allow easy access thereto for reading and inspection, such location to be designated by the superintendent.  All piping within the building must be supplied by the consumer.  If additional meters are desired by the consumer he shall pay for all piping and an amount sufficient to cover the cost of maintenance and depreciation but not less than twenty-five (25) cents per month.

(b)	Service Piping for Meter Settings In installing new service piping (or changing service piping where consumers have been on a flat rate) if meters are to be set, the consumer shall, at his own expense, provide the proper connections for the meter.  Where it is possible to set meters in basement, a short nipple shall be inserted after the stop and wast cock, then a union and then another nipple and coupling of the proper length.  The nipple attached to the union and coupling shall be cut to a standard length provided by the plans of the superintendent (he may require a horizontal run of eighteen (18) inches in such pipe line) which may later be removed for the insertion of the meter into the supply line.

No permit will be given to change from metered to flat rate service.

(6)	Turning on Water The water cannot be turned on for a consumer except by a duly authorized employee of the utility.  When a plumber has completed a job he must leave the water turned off.  This does not prevent him from testing his work.

(7)	Protective Devices

(a)	Protective Devices in General The owner or occupant of every suitable premise receiving water supply shall apply and maintain suitable means of protection of the premise supply, and all appliances thereof, against damage arising in any manner from the use of the water supply, variation of water pressure, or any interruption of water supply.  Particularly, must such owner or occupant protect water cooled compressors for refrigeration systems by means of high pressure safety cut-out devices.  There shall likewise by provided means for the prevention of the transmission of water ram or noise of operation of any valve or appliance through the piping of their own or adjacent premises.

(b)	Relief Valves On all "closed systems" (i.e., systems having a check valve, pressure regulator, reducing valve, water filter or softener) an effective temperature relief valve shall be installed either in the top tapping or the upper side tapping of the hot water tank, or on the hot water distributing pipe connection at the tank.  A 1/2 inch drain pipe shall be connected to the relief valve for discharge on the floor or into a sink or open drain.  No stop valve shall be placed between the hot water tank and the relief valve or on the drain pipe.

(c)	Air Chambers An air chamber or approved shock absorber shall be installed at the terminus of each riser, fixture branch or hydraulic elevator main for the prevention of undue water hammer.  The air chamber shall have a diameter not less than fifteen (15) diameters of said supply pipe.  Where possible, the air chamber should be provided with a valve and drain cock at its base for water drainage and replenishment of air.

(8)	Purity of Supply not to be Impaired by Gross Connections

Every person owning or occupying a premise receiving city water supply shall maintain such city water supply free from any connection, either of a direct or of an indirect nature, with a water supply from a foreign source or of any manner of connection with any fixture or appliance whereby water from a foreign supply or the waste from any fixture, appliance, water or soil pipe may flow, by siphoned or pumped into the piping of the city water system.  All private fire protection systems having cross connection with private supplies must maintain the double check and gate valves, installed by an order of the State Board of Health, free from leakage or defect of any nature.

(9)	Repairs to Service The service pipe from the main to the curb will be maintained and kept in repair at the expense of the utility.  The consumer shall maintain the service pipe from the curb to the point of use and can be billed for any water which has not passed through the meter and had been wasted by leakage of defective pipes and fixtures.  If a consumer fails to repair a leaky or broken service pipe from curb to point of metering or use within such time as may appear reasonable to the superintendent of the utility after notification had been served on the consumer by the superintendent, the water will be shut off and will not be turned on again until the repairs have been completed.

(10)	Repairs to Mains The utility reserves the right to shut off the water in the mains temporarily, to make repairs, alterations or additions to the plant or system.  When the circumstances will permit of sufficient delay, the company will give notification by newspaper publication or otherwise, of the discontinuance of the supply.

(11)	Thawing Frozen Services Frozen services shall be thawed out by and at the expense of the utility except where the freezing was caused by contributory fault or negligence on the part of the consumer such as reduction of the grade or undue exposure of the piping in the building or on consumer's property, or failure to comply with water and sewer department specifications and requirements as to the depth of service, lack of sufficient backfill, etc.

Following the freezing of a service the utility shall take such steps and issue such instructions as may be necessary to prevent the refreezing of the same service.  No charge will be made for wreathing if the instructions are followed.  In case it is necessary to allow the water to flow to prevent refreezing, the consumer must make provisions for proper disposal of the waste water.

For the period in which the water is allowed to run, the consumer will be billed according to his meter readings but in no event to exceed the average amount paid in the corresponding billing periods of the previous two years.  A new consumer will be charged the average bill for other consumers of the same class receiving service under comparable conditions.

(12)	Repairs to Meters Meters will be repaired by the water and sewer department and the cost of such repairs caused by ordinary wear and tear will be borne by the utility.

Repair of any damage to a meter resulting from the carelessness of the owner of the premises, his agent or tenant, or from the negligence of anyone of them to properly secure and protect same including any damage that may result from allowing a water meter to become frozen or to be injured from the presence of hot water or steam in the meter, shall be paid for by the consumer or the owner of the premises.

(13)	Stop Boxes The consumer shall protect the stop box in his terrace and shall keep the same free from dirt and other obstructions.  The utility shall not be liable for failure to locate stop box and shut off water in case of leak on the consumer's premises.

(14)	Billing Procedure

- Unit of Service (Applicable only if provided for in the rate schedule).  A unit of

service shall consist of any aggregation of space or area occupied for a distance purpose such as a residence, apartment, flat, store, office or factory, etc., which is equipped with one or more fixtures for rendering water service separate and distinct from other users.  Each unit of service shall be regarded as one consumer and the surcharge for additional consumers on a meter assessed accordingly.

Suites in houses, or apartments where complete housekeeping functions (such as cooking) are not exercised, shall be classed as rooming houses.  Thus houses and

apartments having suites of one, two or more rooms with toilet facilities but without kitchen or cooking are classed as rooming houses.

When a consumer's premises have several buildings each supplied with service and metered separately, the full service charge will be billed for each meter separately, but the readings will be cumulated.  If these buildings are all used in the same business and are connected by the consumer, they can be metered in one place.  If the utility, for its own convenience, installs more than one meter, the readings will be cumulated for filing.

(b)	Payment of Bills Bills for water and sewer service are rendered quarterly and become due and payable within the month the bill is issued.  A penalty of three (3) percent will be added to bills not paid by the first of the following month after the bill is issued.

If the bill is not paid by the end of the month when the bill is issued, the consumer will be given written notice that the bill is delinquent and than unless payment or satisfactory arrangement for payment is made within the next eight (8) days, service will be disconnected without further notice.

Failure to receive a bill in no way exempts consumers from the provision of these rules.

Any special assessments or service by the city furnished to the property owner or renter and not paid for when duly billed shall be charged back to the property owner and shall be a lien on such property.

(15)	Deposit and Guarantee Rules

(a)	For Property Owners A deposit may be required if the credit of the consumer has not been established satisfactorily to the utility.

(b)	For Renters A deposit may be required of renters where property owners have notified the utility in writing that they preferred to have the water and sewer bills paid by the renter if the credit of the consumer has not been established satisfactorily to the utility.

(c)	Deposit The amount of deposit required may be a sum not exceeding the estimated gross bills for all service, both billed and unbilled, which can be supplied before the utility's filed disconnect rule becomes applicable.  The amount to be deposited may be a minimum of $1.00 per month for each class of water and sewer service furnished.

The deposit shall be refunded upon request of the customer after two years' service with payments within the prompt payment period, and without such request, shall be refunded voluntarily by the utility after three years' service with payments within the prompt payment period.  In no case, however, will a deposit be refunded if the customer's standing is not satisfactory to the utility.

A new or additional deposit may be required upon reasonable written notice of the need for such a requirement in any case where a deposit has been refunded or is found to be satisfactory to the utility.  The service of any customer who fails to comply with these requirements may be disconnected upon five days written notice.

(16)	Reconnection Charge Where a customer has contracted for yearly service and at his request service has been discontinued prior to the expiration of his contract period and his account is not delinquent and where thereafter he requests the reconnection of service in the same location or some other location, a reconnection charge of $18.00, payable in advance, shall be collected.

A connection charge of $18.00 shall also be required from consumers whose services are disconnected because of nonpayment of bills when due (not including disconnection for failure to comply with deposit or guarantee rules).

A consumer shall be considered as the same consumer provided the reconnection is requested for the same location by any member of the same family, or if a place of business, by any partner or employee of the same business.

(17)	Failure to Read Meters Where the utility is unable to read meter after two successive trials, the fact shall be plainly indicated upon the quarterly bill, the minimum charge assessed and the difference adjusted with the consumer when the meter is again read, that is, the bill for the succeeding quarter will be computed with the gallons or cubic feet in each block of the rate schedule doubled and credit will be given on that bill for the amount of the minimum bill paid the preceding month.

If the meter is damaged (See surreptitious use of water) or fails to operate for any reason, the utility will render a bill for the current period, based on an average of the last two quarters, providing there is no particular reason why the use during that period has not bee normal.  In case the last two periods cannot be properly used, then the bill shall be estimated by some equitable method.

(18)	Charges for Water Wasted Due to Leaks When the meter registers losses due to pipe leaks, the utility shall determine whether or not the defect in the piping or equipment was known to the consumer, or being known, he had used his best efforts to correct the condition.  If the utility is satisfied that the loss occurred without the consumer's knowledge, or having known about it he had tried to correct the condition, the utility may determine as nearly as possible what is the amount of the loss by comparison with the use of the water during a like period, and the excess may be billed at the lowest step in the rates.  If, however, the consumer knew of the leak and failed to give proper attention to it, the utility will bill for the total consumption by the meter at regular rates.

(19)	Compliant Meter Tests If a consumer demands that a test be made of his meter in addition to the periodic or installation test, he shall pay a test fee of $1.00 per inch of nominal size or fraction thereof.  If the meter is found fast in excess of 2%, the payment for the test will be refunded and the usual adjustment made in the past bills.

(20)	Operation of Valves and Hydrants - Penalty Any person who shall, without authority of the superintendent, operate any valve connected with the street or supply mains, or open any fire hydrant connected with the distribution system, except for the purpose of extinguishing fire, or who shall wantonly injure or impair the same shall be subject to a forfeiture of not less than $10.00 nor more than $100.00.  Permits for the use of hydrants for filling sprinkling carts apply only to such hydrants as are designated for such use.  Owners or operators of motor vehicles will be held for the cost of repair of any hydrant damaged by being hit by a motor vehicle, and the water department will not be responsible for the damage to the motor vehicle by reason of such accident.

(21)	Hydrant Connections In the use of a fire hydrant supply, the hydrant valve will be set at the proper opening by the water department when the sprinkling valve is set and the flow of water must be regulated by means of the sprinkling valve.  If the water is to be used through iron pipe connections, all such pipe installations shall have a swing joint to facilitate quick disconnection from the fire hydrant.

(22)	Right to Open Hydrants Only such persons as shall be authorized by the superintendent of the water department or the chief engineer of the fire department shall be permitted to open any fire hydrant for any purpose whatsoever and no one except such persons shall be permitted to take the hydrant wrenches or wheels or suffer the same to be taken from any fire engine house, except for fire department purposes.

(23)	Inspection of Premises Any officer or authorized employee of the utility shall have the right of access during reasonable hours to the premises supplied with service, for the purpose of inspection or for the enforcement of the utility's rules and regulations.  The utility will make a systematic inspection of all unmetered water taps at least once ever twelve (12) months for the purpose of checking waste and unnecessary use of water.

(24)	Vacation of Premises  When premises are to be vacated, the utility shall be notified in writing at once, so that it may remove the meter and shut off the supply at the curb cock.  The owner of the premises shall be liable to prosecution for any damage to the property of the water department by reason of failure to notify the utility of vacancy.

(25)	Private Wells and Metering of Existing Wells

- It shall be unlawful, and all persons are prohibited from drilling private wells in the City of Augusta when city water facilities are available.

(b)	If city water facilities are not available, it shall be unlawful for any person to drill a private well unless said person received a permit from the City of Augusta, said City reserving the right to issue said permit, or in lieu thereof, to deny the same and to furnish city water facilities to the applicant.

(c)	All private wells on premises that have access to city sewer facilities shall be metered in order that the City of Augusta may charge the owner for sewer use, said charge being the same paid by other residents of the city for sewer use.

(d)	If any person shall violate any provision of this ordinance, upon conviction thereof, the person shall forfeit not less than $5.00 nor more than $10.00, together with the costs of prosecution, and in default of payment thereof, shall be imprisoned in the county jail not to exceed 10 days, unless such fine and costs are sooner paid.  Each day that a violation shall continue to exist shall constitute a separate offense.

7.02	AN ORDINANCE AUTHORIZING, SELLING AND ESTABLISHING THE

TERMS OF $400,000 SEWERAGE SYSTEM MORAGAGE REVENUE BONDS OF 1979, AND MAKING PROVISION FOR THEIR PAYMENT

7.02	Take not that the following Ordinance 7.02 was passed on February 13, 1979, by unanimous roll call vote.  Said Ordinance 7.02 will be on file with the Clerk-Treasurer for public inspection during any of its regular hours.  Ordinance 7.02 and titles of sections are as set forth below:

(1)	Authorization and Sale of Bonds

(2)	Form of Bonds and Coupons

(3)	Bond Terms, Execution and Delivery

(4)	Security Provisions

(5)	Additional Covenants

(6)	Application of Bond Proceeds

(7)	Defeasance

(8)	Official Statement

(9)	Arbitrage Covenant; Arbitrage Certificate

(10)	Certification of Proceedings

(11)	Inconsistent Actions

(12)	Effective Date

7.03	CROSS CONNECTION CONTROL

TO PROVIDE A PROGRAM FOR PROTECTING THE PUBLIC WATER SYSTEM FROM CONTAMINATION DUE TO BACKFLOW OF CONTAMINANTS THROUGH THE WATER SERVICE CONNECTION INTO THE PUBLIC WATER SYSTEM.

WHEREAS, Chapters NR810 and SPS 382, Wisconsin Administrative Code require protection of the public water system from contaminants due to backflow of contaminants through the water services connection; and

WHEREAS, The Wisconsin Departments of Natural Resources and Health and Social Services require the maintenance of a continuing program of cross connection control which will systematically and effectively prevent the contamination of all portable water systems; now, therefore,

BE IT ORDAINED by the Council of the City of Augusta, State of Wisconsin:

SECTION 1:  That a cross connection shall be defined as any physical connection or arrangement between two otherwise separate systems, one of which contains portable water from the City of Augusta water system, and the other, water from a private source, water of unknown or questionable safety, or steam, gases, or chemicals, whereby there may be a flow from one differential between the two systems.

SECTION 2:  That no person, firm or corporation shall establish or permit to be established or maintain or permit to be maintained any cross connection.  No interconnection shall be established whereby portable water from a private, auxiliary or emergency water supply other than the regular public water supply  of the City of Augusta may enter the supply or distribution system of said municipality, unless such private, auxiliary or emergency water supply and method of connection and use of such supply shall have been approved by the City of Augusta Water Utility and by the Wisconsin Department of Natural Resources in accordance with Section NR810.15, Wisconsin Administrative Code.

SECTION 3:  That it shall be the duty of the City of Augusta Water Utility to cause inspections to be made of all properties served by the Public Water System where cross connections with the Public Water System is deemed possible.  The frequency of inspections and re-inspections based on potential health hazards involved shall be as established by the City of Augusta Water Utility and as approved by the Wisconsin Department of Natural Resources.

SECTION 4:  That upon presentation of credentials, the representative of the City of Augusta Water Utility shall have the right to request entry at any reasonable time to examine any property served by a connection to the public water system of the City of Augusta for cross connections.  If entry is refused, such representative shall obtain a special inspection warrant under §66.122.  On request the owner, lessee or occupant of any property so served shall furnish to the inspection agency any pertinent information regarding the piping system or systems on such property.

SECTION 5:  That the City of Augusta Water Utility is hereby authorized and directed to discontinue water service to any property wherein any connection in violation of this ordinance exists, and to take such other precautionary measures deemed necessary to eliminate any danger of contamination of the public water system.  Water service shall be discontinued only after reasonable notice and opportunity for hearing under Chapter 68, Wisconsin Statutes, except as provided in Section 6.  Water service to such property shall not be restored until the cross connection(s) has been eliminated in compliance with the provisions of this ordinance.

SECTION 6:  That if it is determined by the City of Augusta Water Utility that a cross connection or any emergency endangers public health, safety or welfare and requires immediate action, and a written finding to that effect is filed with the clerk of the City of Augusta and delivered to the customer's premises, service may be immediately discontinued.  The customer shall have an opportunity for hearing under Chapter 68, Wisconsin Statutes, within 10 days of such emergency discontinuance.

SECTION 7:  That the City of Augusta adopts by reference the State Plumbing Code of Wisconsin being Chapter H62, Wisconsin Administrative Code.

SECTION 8:  That this ordinance does not supersede the State Plumbing Code and the City of Augusta plumbing ordinance 7.01, but is supplementary to them.

SECTION 9:  This ordinance shall take effect and be in force from and after the 5th day of March, 1985.

7.04    Public Water Supply Operations Handbook Private Well Abandonment

The City Council of the City of Augusta does hereby enact the following ordinance relating to the sealing and filling of private wells within the boundaries of this municipality.

(1)	Purpose  To prevent unused, unsafe and noncomplying wells from acting as vertical conduits for aquifer contamination or as sources of unsafe water that could enter the public water system through cross connections.

(2)	Coverage All private wells located on any premises which is served by the public water system of the City of Augusta.

(3)	Requirements All water supply wells that do not have valid operational permits issued pursuant to sub. (4), wells which are not routinely used, wells which are in noncompliance with ch. NR812, or wells which test bacteriologically unsafe, shall be properly sealed and abandoned in accordance with ch. NR812 by an established date not to exceed one year from date of connection to the public system, or date of discovery or construction.

(4)	Well Operation Permits Permits may be granted to well owners to operate wells for a period not to exceed five (5) years, renewable not less frequently than every 5 years, that will allow retention and operation of wells, if the following requirements are met:

(a)	The well is safe and in compliance with ch. NR812 with the limitation that the well shall be functional and the owner shall have demonstrated a need for use.

(b)	That a minimum of one safe sample be taken prior to issuing or reissuing the permit to establish that the water is bacteriologically safe.

(c)	That the well and pump system be evaluated by a licensed well driller or pump installer and certified to comply with ch. NR812 subch. IV, prior to issuing the initial permit and no less than every 10 years afterwards.

(d)	Unapproved cross-connections between any private well and pump installations and the municipal water system are prohibited.

(5)	Documentation There will be written documentation of the well and pump inspection indicating compliance with ch. NR8412 requirements using standardized forms provided by the department.

(6)	Penalties Any person violating any provision of this ordinance shall upon conviction be punished by a fine not less than $25.00 nor more than $500.00 together with the cost of prosecution.  Each twenty-four (24) hour period during which a violation exists shall be deemed to constitute a separate offense.

(Council repealed and enacted 7.04 on 12/9/2014)

AN ORDINANCE REGULATING THE USE OF PUBLIC AND PRIVATE SEWERS AND DRAINS, THE INSTALLATION AND CONNECTION OF BUILDING SEWERS, THE DISCHARGE OF WATERS AND WASTES INTO THE PUBLIC SEWER SYSTEM OF THE CITY OF AUGUSTA, EAU CLAIRE COUNTY, WISCONSIN, AND PROVIDING PENALTIES FOR VIOLATIONS THEREOF.

THE COMMON COUNCIL OF THE CITY OF AUGUSTA, EAU CLAIRE COUNTY, WISCONSIN, DOES HEREBY ORDAIN AS FOLLOWS:

SECTION I:  DEFINITIONS

(A)	APPROVING AUTHORITY shall mean the Common Council of the City of Augusta, Eau Claire County, Wisconsin, or its duly authorized committee, agent or representative.

(B)	BIOCHEMICAL OXYGEN DEMAND (BOD) shall mean the quantity of oxygen utilized in the biochemical oxidation of organic matter in five (5) days at twenty (20) degrees centigrade, expressed as milligrams per liter.  Quantitative determination of BOD shall be made in accordance with procedures set forth in "Standard Methods".

(C)	BUILDING DRAIN shall mean that part of the lowest horizontal piping of a drainage system which receives the discharge from soil, waste, and other drainage pipes inside the walls of the building and conveys it to the building sewer.

(D)	BUILDING SEWER shall mean the extension from the building drain to the public sewer or other place of disposal beginning outside the inner face of the building wall.

(E)	CHLORINE REQUIREMENT shall mean the amount of chlorine in milligrams per liter which must be added to sewage to produce a specified residual chlorine content in accordance with procedures set forth in " Standard Methods".

(F)	COMPATIBLE POLLUTANTS shall mean biochemical oxygen demand, suspended solids, phosphorus, pH, or fecal coliform bacteria, plus additional pollutants identified in the WPDES permit for the publicly owned treatment works receiving the pollutants if such works were designed to treat such additional pollutants to a substantial degree.

(G)	FLOATABLE OIL is oil, fat, or grease in a physical state such that it will separate by gravity from wastewater by treatment in an approved pretreatment facility.  A wastewater shall be considered free of floatable fat if it is properly pretreated and the wastewater does not interfere with the collection system.

(H)	GARBAGE shall mean the residue from the preparation, cooking, and dispensing of food, and from the handling, storage, and sale of food products and produce.

(I)	GROUND GARBAGE shall mean the residue from the preparation, cooking, and dispensing of food that has been shredded to such degree that all particles will be carried freely in suspension under the flow conditions normally prevailing in public sewers with                                                                                                                                                                                                                                                                                         no particle greater than one-half (1/2) inch in any dimension.

(J)	INCOMPATIBLE POLLUTANTS shall mean wastewater with pollutants that will adversely affect or disrupt the quality of wastewater treatment if discharged to a wastewater treatment facility.

(K)	INDUSTRIAL WASTE shall mean the wastewater from industrial process, trade, or business, as distinct from sanitary sewage, including cooling water and the discharge from sewage pretreatment facilities.

(L)	NATURAL OUTLET shall mean any outlet, including storm sewers and combined sewer overflows, into a water course, pond, ditch, lake, or other body of surface water or ground waters.

(M)	PARTS PER MILLION shall be a weight-to-weight ratio; the parts per million value multiplied by the factor 8.344 shall be equivalent to pounds per million gallons of water.

(N)	PERSON shall mean any and all persons, including any individual, firm, company, municipal or private corporation, association, society, institution, enterprise, governmental agency or other entity.

(O)	pH shall mean the logarithm of the reciprocal of the hydrogen-ion concentration.  The concentration is the weight of hydrogen-ions, in grams per liter of solution.  Neutral water, for example, has a pH value of seven (7) and a hydrogen-ion concentration of ten-seven (10-7).

(P)	PUBLIC SEWER shall mean any sewer provided by or subject to the jurisdiction of the City of Augusta.  It shall also include sewers within or outside the corporate boundaries that serve one or more persons and ultimately discharge into the city sanitary sewer system, even though those sewers may not have been constructed with city funds.

(Q)	SANITARY SEWAGE shall mean a combination of liquid and

water-carried wastes discharged from toilets and/or sanitary plumbing facilities, together with such ground, surface and storm waters as may be present.

(R)	SANITARY SEWER shall mean a sewer that carries liquid and water-carried wastes from residences, commercial buildings, industrial plants, and institutions, together with minor quantities of ground, storm and surface waters that are not admitted intentionally.

(S)	SEWAGE is the spent water of a community.  The preferred term is "wastewater".

(T)	SEWER SERVICE CHARGE is a service charge levied on users of the wastewater collection and treatment facilities for payment of use-related capital expenses as well as the operation and maintenance costs, including replacement of said facilities.

(U)	"SHALL" is mandatory; "May" is permissible.

(V)	SHOCK shall mean any discharge of water or wastewater which in concentration of any given constituent or in quantity of flow exceeds for any period of duration longer than fifteen (15) minutes more than five (5) times the average twenty-four (24) hour concentration of flows during normal operation and shall adversely affect the system and/or performance of the wastewater treatment works.

(W)	STANDARD METHODS shall mean the examination and analytical procedures set forth in the most recent edition of "Standard Methods for the Examination of Water, Sewage and Industrial Wastes" published jointly by the American Public Health Association, the American Water Works Association, and the Federation of Sewage and Industrial Wastes Associations.

(X)	STORM DRAIN (sometimes termed "storm sewer") shall mean a drain or sewer for conveying water, ground water, subsurface water or unpolluted water from any source.

(Y)	STORMWATER RUNOFF shall mean that portion of the rainfall that is drained into the sewers.

(Z)	SUSPENDED SOLIDS shall mean solids that either float on the surface of, or are in suspension in, water, wastewater, or other liquids, and that is removable by laboratory filtering as prescribed in "Standard Methods for Examination of Water and Wastewater" and is referred to as nonfilterable residue.

(AA)	UNPOLLUTED WATER is water of quality equal to or better than the effluent criteria in effect or water that would not cause violation of receiving water quality standards and would not be benefited by discharge to the sanitary sewers and wastewater treatment facilities provided.

(BB)	WASTEWATER shall mean the spent water of a community.  From the standpoint of source, it may be a combination of the liquid and water-carried wastes from residences, commercial buildings, industrial plants, and institutions, together with any ground water, surface water and storm water that may be present.

(CC)	WASTEWATER FACILITIES shall mean the structures, equipment, and processes required to collect, carry away, and treat domestic and industrial wastes and dispose of the effluent.

(DD)	WASTEWATER TREATMENT WORKS shall mean an arrangement of devices and structures for treating wastewater, industrial wastes and sludge.  Sometimes used as synonymous with waste treatment.

(EE)	WATERCOURSE shall mean a natural or artificial channel for the passage of water, either continuously or intermittently.

(FF)	WISCONSIN POLLUTANT DISCHARGE ELIMINATION SYSTEM (WPDES) PERMIT is a document issued by the Wisconsin State Department of Natural Resources which establishes effluent limitations and monitoring requirements for the municipal wastewater treatment facility.

SECTION II:  USE OF THE PUBLIC SEWERS

(A)	SANITARY SEWERS No person(s) shall discharge or cause to be discharged any unpolluted waters such as storm water, ground water, roof runoff, subsurface drainage or cooling water to any sanitary sewer.

(B)	STORM SEWERS Storm water other than that exempted under Section II, and all other unpolluted drainage shall be discharged to such sewers as are specifically designated as storm sewers or to a natural outlet approved by the Approving Authority and other regulatory agencies.  Unpolluted industrial cooling water or process waters may be discharged, on approval of the Approving Authority, to a storm sewer or natural outlet.

(C)	PROHIBITIONS AGAINST DISCHARGE No person shall discharge or cause to be discharged any of the following described waters or wastes to any public sewer:

(1)	Any gasoline, benzine, naphtha, fuel oil, lubricating oil or other inflammable or explosive liquid, solid or gas or other substances which by themselves or by interaction with other substances may cause fire or explosion hazards, or in any other way be injurious to persons, property, or the operation of the wastewater facilities.

(2)	Any waters or waste containing toxic or poisonous solids, liquids, or gases in sufficient quantity, either singly or by interaction with other wastes, which will injure or interfere with any waste treatment process, constitute a hazard to humans or animals, create a public nuisance in the receiving waters of the wastewater treatment plant or interfere with the disposal of sludge.

(3)	Any waters or wastes having a pH lower than six (6) or having any other corrosive property capable of causing damage or hazard to structures, equipment and personnel of the wastewater works.

(4)	Any waters or wastes having a pH in excess of nine (9).

(5)	Solid or viscous substances in quantities or of such size capable of causing obstruction to the flow in sewers, or other interference with the proper operation of the wastewater facilities such as, but not limited to, ashes, cinders, sand, mud, straw, shavings, metal, glass, rags, feathers, tar, plastics, wood, unground garbage, whole blood, paunch manure, hair and fleshings, entrails, and paper dishes, cups, milk containers, etc., either whole or ground by garbage grinders.

(6)	Any discharge into the sanitary sewerage system that is in violation of the requirements of the WPDES Permit and modifications thereof.

(D)	LIMITATIONS AS TO DISCHARGE No person shall discharge or cause to be discharged to following specifically described substances, materials, fluids, or solids which may harm sanitary sewers, wastewater treatment works and equipment, have an adverse effect on the receiving stream, or may otherwise endanger life, limb, public property, or permission of the Approving Authority.  Such permission is subject to termination at any time upon written notice.  In forming its opinion as to the acceptability of these wastes, the Approving Authority will give consideration to such factors as the quantities of subject wastes in relation to flows and velocities in the sanitary sewers, materials of construction of sanitary sewers, materials of construction of sanitary sewers, nature of the wastewater treatment works, capacity of the wastewater facilities and other pertinent factors.  The substances prohibited are:

(1)	Wastewater having a temperature higher than one hundred fifty (150) degrees Fahrenheit.

(2)	Wastewater from industrial plants containing floatable oils, fat or grease.

(3)	Any garbage that has not been properly shredded.  Garbage grinders may be connected to sanitary sewers from homes, institutions, restaurants, hospitals, catering establishments or similar places where garbage originates from the preparation of food in kitchens for the purpose of consumption on the premises or when served by caterers.

(4)	Any waters or waste containing iron, chromium, copper, zinc, mercury and similar objectionable or toxic substances to such degree than any such material received in the composite wastewater at the wastewater treatment works exceeds the limits established by the Approving Authority for such materials.

(5)	Any waters or wastes containing odor-producing substances exceeding limits which may be established by the Approving Authority.

(6)	Any radioactive wastes or isotopes of such half-life or concentration as may exceed limits established by the Approving Authority in compliance with applicable State or Federal regulations.

(7)	Quantities of flow, concentrations, or both which constitute a "shock" as defined herein.

(8)	Incompatible pollutants containing substances which are not amenable to treatment or reduction by the wastewater treatment processes employed, or are amenable to treatment only to such degree that the wastewater treatment plant effluent cannot meet the requirements of other agencies having jurisdiction over discharge to the receiving waters.

(9)	Any water or wastes which, by interaction with other water or wastes in the public sewer system, release obnoxious gases, form suspended solids which interfere with the collection system, or create a condition deleterious to structures and treatment processes.

(10)	Materials which exert or cause:

(a)	Unusual BOD, chemical oxygen demand or chlorine requirements such as, but not limited to, whey in such quantities as to constitute a significant loan on the wastewater treatment plant.

(b)	Unusual volume of flow or concentration of wastes constituting "shocks" as defined herein.

(c)	Unusual concentrations of inert suspended solids (such as, but not limited to, fuller's earth, lime slurries and lime residues) or of dissolved solids (such as, but not limited to, sodium sulfate).

(d)	Excessive discoloration (such as, but not limited to, dye wastes and vegetable tanning solutions).

(E)	SPECIAL AGREEMENTS No statement contained in this article shall be construed as prohibiting any special agreement between the Approving Authority and any person whereby an industrial waste of unusual strength or character may be admitted to the wastewater treatment works, either before or after pretreatment, provided that there is no impairment of the functioning of the wastewater treatment works by reason of the admission of such wastes, and no extra costs are incurred by the City without recompense by the person, provided that all rates and provisions set forth herein are complied with.

(F)	SEPTIC TANK AND HOLDING TANK DISPOSAL No person in the business of gathering and disposing of septic tank sludge or holding tank sewage shall transfer such material into any disposal area or sewer manhole located within the City of Augusta.

SECTION III:  CONNECTIONS TO PUBLIC SEWER

(A)	REQUIRED CONNECTION The owners of all houses, buildings, or properties used for human occupancy, employment, recreation, or other purposes, situated within the City of Augusta and abutting on any street, alley, or right-of-way in which there is now located or may in the future be located a sanitary sewer, shall be required, at the owner's expense, to install suitable toilet facilities therein, and to connect such facilities directly with the proper public sewer in accordance with the provisions of this ordinance.

(B)	CONNECTION CHARGE Persons attaching to a main of the Augusta Municipal Sewer Utility shall pay a connection charge of seven hundred fifty ($750.00) dollars, plus that person shall have the lateral from the sewer main installed at his own expense.

(C)	EXTENSIONS The Augusta Municipal Sewer Utility shall extend sewer mains to a new person(s) in accordance with the following charges and the following conditions, to-wit:

(1)	When an extension main is required by the prospective user, said person shall make an application for such an extension in writing to the Common Council of the City of Augusta by filing a written application for the same with the City Clerk. After the filing of such an application the Common Council shall first determine the length and location of the extension, taking into consideration the future prospective demands for service and the orderly development of the particular area. No extension shall be made for a distance less than to the next manhole.

(2)	The person who requests the extension shall pay the entire cost of said extension including the manhole or manholes that are a part of the extension.  If more than one user is involved the entire cost shall be divided among these users.

(3)	After making the decision as to the length and location of the extension and prior to the time making the charge to the person(s), the Common Council shall determine the benefits to be received by any parcel that can be served by said extension.  Before making a determination as to benefits received said council shall first divide the area to be served into logical building lots.  Such council may consider the recommendations of the landowner in determining said building lots if the landowner as a part of his application accompanies said application with a proposed division of said land into lots for sale or use.  In determining the amount to be paid by the original users if more than one user is involved, the division of the charge shall be made by considering each building lot owned by one of the original applicants as a separate user.

(4)	Payments are to be considered contributions to construction and after the original contribution in any future connection by a user other than to a lot owned by a party making a previous contribution, such user shall be required to pay to the city his pro rata share of the lot or lots owned by the new attaching user in the entire extension cost as if said user had been one of the original contributors.

(5)	When the city receives a future contribution, it shall after receiving the money, pay said money to the previous contributors by paying to each of the previous contributors equal amounts by counting each previous contributing lot as a separate contributor.  The City shall not make payments to a previous contributor if ten (10) years have expired from the date of the original contribution.  Said money paid shall be retained by the city.

(6)	It is hereby provided that the right to contribution shall follow the land and not the contributor with the reimbursement to go to the person who is the owner of the receiving lot at the time of the reimbursement.  If a contributor owns more than one lot at the time of contribution he shall be required to designate one of the lots as the lot entitled to contribution and the owner of such a lot at the time any contribution shall receive the reimbursements for all of the lots owned by the original contributor at the time of the original contribution.  Such lot designation shall be filed with the City Clerk of the City of Augusta, Eau Claire County, Wisconsin, and may be filed in the office of the Register of Deeds for Eau Claire County, Wisconsin.  The owner of such designated lot may by filing a corrective designation change said designation to another lot owned by him as long as such new lot is one of the lots to be served by said extension.  The total amount of reimbursement that any contributor may receive shall be the total payment made by him less the benefits conferred upon the lot or lots owned by him at the time of his contribution.

(7)	In addition to the charge made as above provided to each lot, each user shall pay the full cost of the lateral from the main to his building and a seven hundred fifty ($750.00) dollar connection charge.

(D)	ADDITIONAL AUTHORITY The Common Council may at any time establish specific connection and lateral charges for any main not covered by any other provisions in this ordinance or when the city has made an extension and the Common Council has failed to provide lateral or connection charges.  It is further provided that the Common Council may amend or alter any connection or lateral charge after its establishment under the terms of this ordinance or previous ordinance or resolutions.

SECTION IV:  CONTROL OF INDUSTRIAL WASTES

(A)	INDUSTRIAL DISCHARGES If any waters or wastes are discharged, or proposed to be discharged, to the public sewers, which waters or wastes contain substances or possess the characteristics enumerated in Section II and which, in the judge ment of the Approving Authority, may have deleterious effects upon the wastewater treatment works, processes, equipment, or receiving waters, or which otherwise create a hazard to life, health, or constitute a public nuisance, the Approving Authority may:

(1)	Reject the wastes.

(2)	Require pretreatment to an acceptable condition for discharge to the public sewers.

(3)	Require control over the quantities and rates of discharge.

(4)	Require payment to cover the added cost of handling and treating the wastes not covered by existing taxes or sewer charges under the provisions of Section II(E).

(B)	CONTROL MANHOLES

(1)	Each person discharging industrial wastes into a public sewer shall construct and maintain one or more control manholes or access points to facilitate observation, measurement, and sampling of his wastes, including domestic sewage.

(2)	Control manholes or access facilities shall be located and built in a manner acceptable to the Approving Authority.  If measuring devices are to be permanently installed, they shall be of a type acceptable to the Approving Authority.

(3)	Control manholes, access facilities, and related equipment shall be installed by the person discharging the waste, at his expense, and shall be maintained by him so as to be in safe condition, accessible, and in proper operating condition at all times.  Plans for installation of the control manholes or access facilities and related equipment shall be approved by the Approving Authority prior to the beginning of construction.

(C)	MEASUREMENT OF FLOW The volume of flow used for computing the sewer service and the cost recovery charges shall be based upon the water consumption of the person as shown in the records of meter readings maintained by the Augusta Water Utility.

(D)	PROVISION FOR DEDUCTIONS In the event that a person discharging industrial waste into the public sewers produces evidence satisfactory to the Approving Authority that more than ten (10) percent of the total annual volume of water used for all purposes does not reach the public sewer, then the determination of the water consumption to be used in computing the waste volume discharged into the public sewer may be made a matter of agreement between the Approving Authority and the person.

(E)	METERING OF WASTE Devices for measuring the volume of waste discharged may be required by the Approving Authority if this volume cannot otherwise be determined from the metered water consumption records.  Metering devices for determining the volume of waste shall be installed, owned and maintained by the person.  Following approval and installation, such meters may  not be removed without consent of the Approving Authority.

(F)	WASTE SAMPLING

(1)	Industrial wastes discharged into the public sewers shall be subject to periodic inspection and a determination of character and concentration of said wastes.  The determinations shall be made by the industry as often as may be deemed necessary by the Approving Authority.

(2)	Samples shall be collected in such a manner as to be representative of the composition of the wastes.  The sampling may be accomplished either manually or by the use of mechanical equipment acceptable to the Approving Authority.

(3)	Testing facilities shall be the responsibility of the person discharging the waste and shall be subject to the approval of the Approving Authority.  Access to sampling locations shall be granted to the Approving Authority or its duly-authorized representatives at all times.  Every care shall be exercised in the collection of samples to insure their preservation in a state comparable to that at the time the sample was taken.

(G)	PRETREATMENT Where required, in the opinion of the Approving Authority, to modify or eliminate wastes that are harmful to the structures, processes, or operation of the wastewater treatment works, the person shall provide at his expense such preliminary treatment or processing facilities as may be required to render his wastes acceptable for pg 96 admission to the public sewers.

(H)	GREASE AND/OR SAND INTERCEPTORS Grease, oil and sand interceptors shall be provided when, in the opinion of the Approving Authority, they are necessary for the proper handling of liquid wastes, containing floatable grease in excessive amounts, as specified in Section II (D), or any flammable wastes, sand, or other harmful ingredients.

All interceptors shall be of a type and capacity approved by the Approving Authority, and shall be located as to be readily and easily accessible for cleaning and inspection.  In the maintaining of these interceptors, the owner(s) shall be responsible for the proper removal and disposal by appropriate means of the captured material and shall maintain records of the dates and means of disposal which are subject to review by the Approving Authority.  Any removal and hauling of the collected materials not performed by the owner(s)' personnel must be performed by currently licensed waste disposal firms.

(I)	ANALYSES

(1)	All measurements, tests, and analyses of the characteristics of waters and wastes to which reference is made in this ordinance shall be determined in accordance with the latest edition of "Standard Methods for the Examination of Water and Wastewater", published by the American Public Health Association.  Sampling methods, locations, times, durations, and frequencies are to be determined on an individual basis subject to approval by the Approving Authority.

(2)	Determination of the character and concentration of the industrial wastes shall be made by the person discharging them, or his agent, as designated and required by the Approving Authority.  The Approving Authority may also may its own analyses on the wastes and these determinations shall be used as a basis for charges.  If the person discharging the waste contests the determination, the Approving Authority may elect to have an independent laboratory determine the character and concentration of the waste.  Said independent laboratory shall be acceptable to both the City and the person discharging the waste.  All costs incurred by the independent laboratory in making the determination shall be assumed by the discharger.

(J)	SUBMISSION OF INFORMATION Plans, specifications, and any other pertinent information relating to proposed flow equalization, pretreatment, or processing facilities shall be submitted for review of the Approving Authority prior to the start of their construction if the effluent from such facilities is to be discharged into the public sewers.

(K)	SUBMISSION OF BASIC DATA Within three (3) months after passage of this ordinance, each person who discharges industrial wastes to a public sewer shall prepare and file with the Approving Authority a report that shall include pertinent data relating to the quantity and characteristics of the waste discharged to the wastewater works.

Similarly, each person desiring to make a new connection to a public sewer for the purpose of discharging industrial wastes shall prepare and file with the Approving Authority a report that shall include actual or predicted data relating to the quantity and characteristics of the waste to be discharged.

- EXTENSION OF TIME When it can be demonstrated that circumstances exist which would create an unreasonable burden on the person to comply with the time schedule imposed herein, a request for extension of time may be presented for consideration by the Approving Authority.

SECTION V:  RIGHT OF ENTRY

(A)	RIGHT OF ENTRY The Director of Public Works, Superintendent of the Wastewater Treatment Plant, or other duly-authorized employee of the Approving Authority bearing proper credentials and identification shall be permitted to enter all properties for the purpose of inspection, observation, testing, all in accordance with the provisions of this ordinance and section 196.171 Wisconsin Statutes.

(B)	SAFETY.  While performing the necessary work on private premises referred to in Section V (A), the duly-authorized City employees shall observe all safety rules applicable to the premises established by the company, and the City shall indemnify the company against loss or damage to its property by City employees and against the liability claims and pg98 demands for personal injury or property damage asserted against the company and growing out of gauging and sampling operation, and indemnify the company against loss, or damage to its property by City employees; except as such may be caused by negligence or failure of the company to maintain safe conditions as required in Section IV (B).

SECTION VI:  SEWER CONSTRUCTION

(A)	WORK AUTHORIZED No unauthorized person shall uncover, make any connections with or opening into, use, alter, or disturb any public sewer or appurtenance thereof without first obtaining permission from the Approving Authority.

(B)	USE OF OLD BUILDING SEWERS Old building sewers may be used in connection with new buildings only when they are found on examination and test by the Approving Authority to meet all requirements of this ordinance.

SECTION VII:  SEWER SERVICE CHARGES

(A)	DEFINITIONS The following terms shall have the following meanings under this ordinance:

(1)	NORMAL DOMESTIC STRENGTH WASTEWATER shall mean

wastewater with concentrations of BOD5 and suspended solids no greater than two-hundred (200) and two-hundred fifty (250) milligrams per liter (mg/1) respectively.

(2)	OPERATION AND MAINTENANCE COSTS shall include all costs associated with the operation and maintenance of the wastewater collection and treatment facilities as well as the costs associated with periodic equipment replacement necessary for maintaining capacity and performance of wastewater collection and treatment facilities.

(3)	NORMAL USER shall be a user whose contributions to the wastewater treatment works consist only of normal domestic-strength waste originating from a house, apartment, flat or other living quarters occupied by a person or persons constituting a distinct household, business or commercial enterprise.

(4)	USER CHARGE is a charge levied on users of the wastewater collection and treatment facilities as a part of the Sewer Service Charge for payment of operation and maintenance costs of said facilities.

(B)	SEWER CHARGES A sewer service and user charge are hereby imposed upon each lot, parcel of land, building, or premises served by the public sewer and wastewater facilities, or otherwise discharging sewage, including industrial wastes, into the public sewer and wastewater facilities.  Such user charge shall be included in the sewer service charge and be payable as hereinafter provided, and in an amount determinable as follows:

(1)	The sewer service charge for any lot, parcel of land, building, or premises within the corporate limits, and for any lot, parcel of land, building, or premises outside the corporate limits which is connected to the public sewer system shall be based upon the quantity of wastewater generated as measured by the water meter or sewage meter in use as follows:

(a)	CATEGORY A is defined as normal or domestic strength wastewater having organic concentrations of biochemical oxygen demand (BOD) no greater than two hundred (200) milligrams per liter (mg/1) and suspended solids no greater than two hundred fifty (250) milligrams per liter (mg/1).  The sewer service charge for Category A wastewater is as follows:

5/8-inch water meter - $11.50	       3-inch water meter -$ 55.80

3/4-inch water meter - $115.00     4-inch water meter -$ 86.60

1-inch water meter - $17.20	       6-inch water meter -$163.60

1 1/4-inch water meter - $20.90	       8-inch water meter -$256.10

1 1/2-inch water meter - $24.90      10-inch water meter -$379.30

2-inch water meter - $34.20	      12-inch water meter -$502.60

Further, there should be a volumetric charge of $1.64 per 1,000 gallons.  This charge included $1,265 per 1,000 gallons for operation, maintenance, and replacement cost and $0.375 per 1,000 gallons for debt service.

(b)	CATEGORY B is defined as wastewater having organic concentrations of biochemical oxygen demand (BOD) greater than 200 milligrams per liter (mg/1) and/or suspended solids greater than 250 milligrams per liter (mg/1).  There are no Category B users at present.  The charge for future Category B users will be based on a formula which considers the concentration of biochemical oxygen demand (BOD) and suspended solids.

(2)	REASSIGNMENT OF SEWER USERS The Approving Authority will reassign sewer users into appropriate Sewer 	Service Charge categories if wastewater sampling programs 	and other related information indicate a change of categories is necessary.

(3)	ADDITIONAL CHARGES.  Additional charges shall be imposed upon each lot, parcel of land, building or premises served by public sewer and wastewater facilities located outside the boundaries of the Approving Authority.  Such additional charges shall be added to the sewer bill for each billing period.

SECTION VIII:  INDUSTRIAL COST RECOVERY CHARGES

(A)	DEFINITIONS:  The following terms shall have the following corresponding period of the water bills and shall be payable to the City Clerk and Utility Secretary-Cashier not later than two (2) months after the end of each period.  A penalty of three (3%) percent shall be added to all bills not paid by the date fixed for final payment.

(B)	CHARGES A LIEN All sewage charges shall be a lien upon the property served pursuant to section 66.076(7), Wisconsin Statutes, and shall be collected in the manner therein provided.

(C)	DISPOSITION OF REVENUE The amounts received from the collection of charges authorized by this ordinance shall be credited to a sanitary sewerage account which shall show all receipts and expenditures of the sewerage system.  When appropriated by the Common Council, the credits to said account shall be available for the payment of the requirements for operation, maintenance, repairs and depreciation of the sewerage system consistent with 400FR35.929.  Any surplus outside the preview of 400FR35.929, in said account shall be available for the payment of principal and interest of bonds issued and outstanding, or which may be issued, to provide funds for said sewerage system, or part thereof, and all or a part of the expenses for additions and improvements and other necessary disbursements or indebtedness, and the Common Council may be resolution pledge present outstanding sewer system general obligation bonds, including the refunding bonds, shall be paid from this fund both principal and interest.

SECTION X:  AUDIT

ANNUAL AUDIT The City shall conduct an annual audit, the purpose of which shall be to maintain the proportionality between users and user classes of the user charge system and to insure that adequate revenues are available relative to increasing operation, maintenance and replacement costs.

SECTION XI:  VIOLATIONS AND PENALTIES

(A)	WRITTEN NOTICE OF VIOLATION Any person found to be violating a provision of this ordinance shall be served by the Approving Authority with a written notice stating the nature of the violation and providing a reasonable time for the satisfactory correction thereof.  The offender shall, within the period of time stated in such notice, permanently cease all violations.

(B)	ACCIDENTAL DISCHARGE Any person found to be responsible for accidentally allowing a deleterious discharge into the sewer system which causes damage to the treatment facility and/or receiving body of water shall, in addition to a fine, pay the amount to cover damages, both values to be established by the Approving Authority.

(C)	CONTINUED VIOLATIONS Any person, partnership, or corporation, or any officer, agent, or employee thereof, who shall continue any violation beyond the aforesaid notice time limit provided shall, upon conviction thereof, forfeit not less than two-hundred ($200) together with the costs of prosecution.  In default of payment of such forfeiture and costs, said violator shall be imprisoned in the Eau Claire County Jail for a period not to exceed thirty (30) days.  Each day in which any violation is continued beyond the aforesaid notice time limit shall be deemed a separate offense.

(D)	LIABILITY TO CITY FOR LOSSES Any person violating any provisions of this ordinance shall become liable to the City for any expense, loss, or damage occasioned by reason of such violation which the City may suffer as a result thereof.

SECTION XII:  VALIDITY

(A)	REPEAL OF CONFLICTING ORDINANCES All ordinances, resolutions, orders or parts thereof heretofore adopted, enacted or entered in conflict with this ordinance shall be and the same are hereby repealed.

(B)	SAVINGS CLAUSE If any provision of this ordinance is found invalid or unconstitutional or if the application of this ordinance to any person or circumstances is found to be invalid or unconstitutional, such invalidity or unconstitutionality shall not affect the other provisions or application of this ordinance which can be given effect without the invalid or unconstitutional provision or application.

(C)	AMENDMENTS The City, through its duly-qualified governing body, may amend this ordinance in part or in whole wherever it may deem necessary.

SECTION XIII:  EFFECTIVE DATE

This ordinance shall take effect and be in force from and after its passage, approval, and publication as provided by law.

7.05	SERVICE OUTSIDE CORPORATION LIMITS

(A)	The city does herewith limit its extension of any utility service as provided in this section. Only in exceptional cases and when authorized by the city council may utility service be furnished to properties located outside of the corporate limits of the city.

(B)	(Repealed September 9, 2014)

(C)	The rendering of such service as provided in this section shall not be deemed to be holding out or an offer by the city to furnish utility service beyond its corporate limits.

(D)	All customers receiving utility service as provided in this section shall fully comply with all ordinances and codes applicable to users of utility service within the city limits. Mains or services laid and the installation thereof outside the city limits shall be in accordance with the specifications of and under the supervisor of Public Works and be approved thereby. Maintenance of such mains or services shall conform to general city requirements.

(E)	Customers receiving utility service in accordance with the provisions of this section shall be subject to all utility charges which are applicable within the City and any other fees or charges imposed by the city council for utility service within or without the city, which may include special assessments or surcharges for extraterritorial services. (Adopted August 9, 2005)

7.06	SEWER USE AND USER CHARGE ORDINANCE

Adopted December 14, 2010:

AN ORDINANCE TO REPEAL AND RECREATE CHAPTER 7, UTILITIES, OF THE MUNICIPAL CODE OF THE CITY OF AUGUSTA, EAU CLAIRE COUNTY, WISCONSIN, RELATING TO PROCEDURES, SAFEGUARDS AND FUNDS TO CONSTRUCT, OPERATE AND MAINTAIN THE AUGUSTA WASEWATER TREATMENT FACILITIES AND MEET WPDES PERMIT LIMITS FOR THE AUGUSTA WASTEWATER TREATMENT FACILITIES;

WHEREAS, the City of Augusta, Wisconsin, owns and operates a wastewater treatment works; and

WHEREAS, the City must pay all the operation and maintenance expenses associated with said treatment works and charge the users of said treatment works accordingly; and

WHEREAS, the City, by accepting wastewater and septage assumes all risk for treatment and meeting their WPDES permit standards but reserves the right to immediately discontinue acceptance of wastewater or septage for operational and permit reasons; and

WHEREAS, the Public Service Commission establishes the rates and Rules and Regulations for the Water Utility; and

WHEREAS, this recreated ordinance establishes the sewer use and user charges for the Sewer Utility; and

NOW, THEREFORE, BE IT ORDAINED, BY THE Common Council of the City of Augusta, Eau Claire County, Wisconsin, as follows:

Section 1:  Chapter 7 of the Code of Ordinances of the City of Augusta, Wisconsin, entitled “Utilities” shall be repealed and recreated as follows:

Section 7.1  PURPOSE

The purpose of this Ordinance is to assure minimum health standards and to preserve and promote public health, comfort, safety, and general welfare of the public.  The Common Council finds that this purpose is served by regulating public and private sewers and drains, discharge of septage, waters and wastes into public sewers, and by providing methods and means for determining wastewater and septage volumes, constituents and characteristics, for issuing of permits to certain users, for levying and collecting wastewater treatment service charges, and for setting charges and fees pursuant to state law, and by using the revenues so derived to defray the costs of operating and maintaining adequate wastewater collection and treatment systems and to provide sufficient funds for capital outlay, debt service costs, and capital improvements.

The Common Council further finds that setting uniform requirements for discharges into the wastewater collection and treatment systems enables the City to comply with administrative provisions and other discharge criteria that are required or authorized by the State of Wisconsin or Federal law.

Section 7.2  DEFINITIONS

Unless the context specifically indicates otherwise, the meaning of terms used in this Ordinance shall be as follows:

- APPROVING AUTHORITY shall mean the Common Council of the City of Augusta or its duly authorized City, committee, agent or representative.

- AMALGAM means dental filing material made from a mixture of metallic mercury with powdered silver-tin-copper alloy.

- AMMONIANITROGEN (NH3-N) shall mean one of the oxidation states of nitrogen, in which nitrogen is combined with hydrogen in molecular form as NH3 or in ionized form as NH4.  Quantitative determination of ammonia nitrogen shall be made in accordance with procedures set forth in the most recent edition of “Standard Methods.”

- BTEX means benzene, toluene, ethyl benzene, and zylenes; volatile organic compounds (VOCs) commonly found in discharges from leaking underground storage tank (LUST) sites.

- BIOCHEMICAL OXYGEN DEMAND (BOD5) shall mean the quantity of oxygen utilized in the biochemical oxidation of organic matter in five (5) days at 20 degrees Centigrade, expressed in milligrams per liter.  Quantitative determination of BOD5 shall be made in accordance with procedures set forth in the most recent edition of “Standard Methods.”

- BUILDING DRAIN shall mean that part of the lowest horizontal piping of a drainage system that receives the discharge from waste and other drainage pipes inside the wall of the building and conveys it to the building sewer, beginning at the outside face of the building wal I.

- BUILDING SEWER shall mean the extension from the building drain to the public main, and is also referred to as the lateral.  Except as specifically provided in the Ordinance, the City shall not be responsible for the construction or maintenance of building sewers or laterals.

- CHEMICAL ELEMENTS & COMPOUNDS that are typically found in wastewater and may be regulated by this Ordinance are identified as follows:

Ammonia Nitrogen		NH3-N

Arsenic			As

Cadmium			Cd

Chloride			Cl

Copper				Cu

Chromium			Cr

Cyanide			Cn

Lead				Pb

Mercury			Hg

Nickel				Ni

Nitrogen			N

Phosphorus			P

Zinc				Zn

- CITY shall mean the City of Augusta, a Wisconsin municipal corporation, located in the County of Eau Claire, State of Wisconsin.

- COMMERCIAL USER shall mean any user whose premises are used primarily for the conduct of a profit-oriented enterprise in the field of construction, wholesale or retail trade, finance, insurance, real estate or services, and who discharges primarily normal domestic sewage.

- COMMOM COUNCIL means CITY’S local legislative body, as that term is defined in Wis. Stat. 15.34 (2009).

- COMPATIBLE POLLUTANTS shall mean biochemical oxygen demand, suspended solids, phosphorus, nitrogen or pH plus additional pollutants identified in the WPDES permit for the wastewater treatment works receiving the pollutant, if such works were designed to treat such additional pollutants to a substantial degree.

- DEPARTMENT OF COMMERCE (herein called “DOC”) shall mean the Wisconsin Department of Commerce, an executive department of the State of Wisconsin, created by Wis. Stat. 15.15 (2009).

- DEPARTMENT OF NATURAL RESOURCES (herein called “DNR”) shall mean the Wisconsin Department of Natural Resources, an executive department of the State of Wisconsin, created by Wis. Stat. 15.34 (2009).

- EASEMENT shall mean the legal right for the use of land owned by others.

- FOG means fats, oils, and grease.

- FOOD SERVICE FACILITY means any facility engaged in the preparation of food for human consumption and/or serving of meals, lunches, short orders, sandwiches, frozen desserts, or other edible products.  The term includes restaurants, coffee shops, cafeterias, short order cafes, luncheonettes, taverns, lunch rooms, places which manufacture retail sandwiches, soda fountains, institutional cafeterias, catering establishments, and similar facilities.  The term includes such facilities even if such use is incidental or accessory to the facilities primary use.

- FRYER means oil that is used and/or reused in fryers for the preparation of foods such as fried chicken and French fries.  Discharge of fryer oil into the sewer system is prohibited.

- GARBAGE shall mean the residue from the preparation, cooking and dispensing of food, and from the handling, storage and sale of food products and produce.

- GREASE means fats, oils, and grease used for the purpose of preparing food or resulting from food preparation and includes all elements of FOG.  The terms grease and FOG may be used interchangeably.

- GROUND GARBAGE shall mean the residue from the preparation, cooking and dispensing of food that has been shredded to such degree that all particulates will be no greater than one-half (1/2) inch in any dimension and will be carried freely in suspension under normal flow conditions in sewers.

- HOLDING TANK SERVICE AREA shall mean the area outside the City’s current sewer service area, but inside or equal to the City’s future sewer service area where a contract has been developed by the City for holding tank wastewater to be treated at the wastewater treatment works.

- INCOMPATIBLE POLLUTANTS OR WASTEWATER shall mean wastewater or septage with pollutants that will adversely affect or disrupt the wastewater treatment processes, effluent quality or sludge quality if discharged to the wastewater facilities.

- INDUSTRIAL USER shall mean any user whose premises are used primarily for the conduct of a profit-oriented enterprise in the field of manufacturing, dairy products processing , meat processing, other food and drink products, painting or finishing operations, transportation, communications or utilities, mining, agriculture, forestry or fishing.

- INDUSTRIAL WASTE shall mean the wastewater from an industrial process, trade, or business, as distinct from sanitary sewage.  The term shall include cooling water and the discharge from pretreatment facilities.

- LICENSED DISPOSER shall mean a person or business holding a valid license to do septage servicing under Wis. Admin. Code ch. NR113.

(aa) MERCURY (Hg) is a hazardous chemical element that is a persistent,      	bioaccumulative pollutant.  Its use is unnecessary since there are many 	mercury-free alternatives.  No laboratory shall be used for testing for 	mercury unless it shall be qualified for low-level mercury analysis under 	Wis. Admin. Code Nr 149.12 (2).

(bb)  MILLIGRAMS PER LITER (mg/L) shall be a weight-to-weight ratio; 	the milligrams per liter value (mg/L) multiplied by the factor 8.34 shall be 	equivalent to pounds per million gallons of water.

(cc) MUNICIPAL WASTEWATER shall mean the wastewater of a 	community.  From the standpoint of source, it may be a combination of 	the liquid and water-carried wastes from residences, commercial 	buildings, industrial plants and institutions, together with any 	groundwater, surface water and storm water that may have inadvertently 	entered the sewer system.

(dd) NATURAL OUTLET shall mean any outlet, including storm sewers, 	into a watercourse, pond, ditch, lake or other body of surface water or 	groundwater.

(ee) NORMAL DOMESTIC SEWAGE shall mean sanitary sewage resulting 	from the range of normal domestic activities, in which BOD5, TSS, total 	Kjeldahl nitrogen, and phosphorus concentrations meet the following:

(i)	A five day, 20oC BOD of not more than 260 mg/L

(ii)	A total suspended solids content of not more than 300 mg/L

(iii)	A total Kjeldahl nitrogen content of not more than 35 mg/L

(iv)	A total phosphorus content of not more than 10 mg/L

(ff) PARTS PER MILLION (ppm) shall mean a weight-to-weight ratio; the 	parts per million value multiplied by the factor 8.34 shall be equivalent to 	pounds per million gallons of water.  Equivalent to milligrams per liter 	(mg/L).

(gg) PERSON shall mean any and all persons, including any individual, firm, 	company, municipal or private corporations, association, society, 	institution, enterprise, government agency or other entity.

(hh) pH shall mean the logarithm of the reciprocal of the hydrogen ion 	concentration.  The concentration is the weight of hydrogen ions, in grams 	per liter of solution.  Neutral water, for example, has a pH value of 7 and a 	hydrogen ion concentration of 10-7.

(ii)  PRETREATMENT shall mean an arrangement of devices and structures, 	for the preliminary treatment or processing of wastewater required to 	render such wastes acceptable for admission to the public sewers.

(jj) PRIVATE SEWER shall mean any sewer outside of a public right of way 	or public easement.  Except as provided in this Ordinance, a private sewer 	shall not be subject to the jurisdiction of the City and the City shall not be 	responsible for the construction and/or maintenance of such sewer.

(kk) PUBLIC SEWER shall mean any sewer provided by or subject to the 	jurisdiction of the City.  It shall also include sewers within or outside the 	corporate boundaries that serve more than one person and ultimately 	discharge into the City sanitary sewer system, even though those sewers 	may not have been constructed with City funds.  Public sewers shall not 	include private sewers or building sewers.

(ll)  PUBLIC USER shall mean any user discharging Normal Domestic 	Sewage  whose premises are used primarily by a governmental entity, 	private school or public school.

(mm) RESIDENTIAL USER shall mean any dwelling discharging Normal 	Domestic Sewage.   This includes single-family homes, mobile homes, 	duplex units and apartment units.  Each single-family residential unit shall 	be invoiced as a separate user.

(nn)  SANITARY SEWAGE shall mean a combination of water-carried 	wastes 	from residences, business buildings, institutions and industrial

plants (other than industrial wastes from such plants), together with such 	ground, surface and storm waters as may be present.

(oo) SANITARY SEWER SYSTEMS means all structures, conduits and 	pipes, 	by which sewage is collected, treated, and disposed of, except 	plumbing inside and in connection with buildings served, and service 	pipes, from building to street main.

(pp) SEPTAGE shall mean the wastewater or contents of septic or holding 	tanks, dosing chambers, seepage beds, seepage trenches, privies or 	portable restrooms.

(qq) SEWAGE is the spent water of a community.  The preferred term is 	“municipal wastewater.”

(rr) SEWER SERVICE AREAS are the areas presently served and 	anticipated to be served by a municipal wastewater collection system.  	The sewer service area is delineated in the most recently approved 	Facility Plan for the City’s wastewater treatment facility filed with the 	DNR.

(ss) SEWER SERVICE CHARGE is a service charge levied on users of the 	wastewater collection and treatment facilities for payment of capital 	expenses as well as the operation, maintenance costs, and replacement of 	said facilities.

(tt) SEWER SYSTEM means the common sanitary sewers within a sewerage 	system that are primarily installed to receive wastewaters directly from 	facilities which convey wastewater from individual structures or from 	private property, and which include service connection wye fittings 	designed for connection with those facilities.  The facilities which convey 	wastewater from individual structures, from private property to the public 	sanitary sewer, or its equivalent, are specifically excluded from the 	definition of “sewerage collection system”; except that pumping units and 	pressurized lines for individual structures or groups of structures may be 	included as part of a “sewer system” when such units are cost effective 	and are owned and maintained by the City.

(uu) SEWERAGE SYSTEM means all structures, conduits and pipes, by 	which sewage is collected, treated, and disposed of, except plumbing 	inside and in connection with buildings served, and service pipes, from 	building to street main.

(vv) SLUG LOAD shall mean any substance released at a discharge rate to 	and/or concentration that causes interference with wastewater treatment 	processes or plugging or surcharging of the sewer system.

(ww) STANDARD METHODS shall mean the examination and analytical 	procedures set forth in the most recent edition of “Standard Methods for 	the Examination of Water, Sewage, and Industrial Wastes”, published 	jointly by the American Public Health Association, the American Water 	Works Association and the Water Environment Federation.

(xx)  STORM DRAIN (sometimes termed “storm sewer”) shall mean a drain 	or sewer for conveying surface water, groundwater, subsurface water, or 	unpolluted water from any source.

(yy) STORMWATER RUNOFF shall mean shall mean that portion of the 	rainfall that is collected and drained into the storm sewers.

(zz) SUSPENDED SOLIDS (TSS) shall mean solids that either float on the 	surface of, or are in suspension in, water, wastewater, septage, or other 	liquids, and that is removable by laboratory filtering as prescribed in 	“Standard Methods” and is referred to as nonfilterable residue.

(aaa) TOXIC DISCHARGES means a discharge containing a substance or 	mixture of substances which, through sufficient exposure, or ingestion, 	inhalation, or assimilation by an organism, either directly from the 	environment or indirectly by ingestion through the food chain, will, on the 	basis of information available to the City, cause death, disease, behavioral 	or immunological abnormalities, cancer, genetic mutations, or 	developmental or physiological malfunctions, including malfunctions in 	reproduction or physical deformations, in such organisms or their 	offspring.

(bbb) USER means any entity connected to the sewer system of the City of 	Augusta, including Public Users, Commercial Users, Residential Users, 	and Industrial Users.

(ccc)  USER CLASSES are categories of users having similar flows and water 	characteristics; that is, levels of biochemical oxygen demand, suspended 	solids, nitrogen, phosphorous and pH.  For the purposes of this Ordinance, 	there shall be four user classes:  residential, commercial, industrial, and 	public authority.

(ddd) WASTEWATER FACILITIES shall mean the structures, equipment and 	processes required to collect, carry away, store, and treat domestic and 	industrial waste and septage and dispose of the effluent and sludge.

(eee) WASTEWATER TREATMENT WORKS shall mean an arrangement of 	devices and structures for treating wastewater, septage, industrial waste 	and sludge.  Sometimes used as synonymous with sewage treatment 	facility.

(fff)  WATERCOURSE shall mean a natural or artificial channel for the 	passage of water, either continuously or intermittently.

(ggg) WPDES shall mean the Wisconsin Pollutant Discharge Elimination 	System, a system for regulating wastewater treatment and discharging by

the Wisconsin Department of Natural Resources and which is governed in 	part under Wis. Admin. Code ch. NR 210.

Section 7.3	MANAGEMENT, OPERATION AND CONTROL

(a)       AUTHORITY.  The management, operation and control of the wastewater 	facilities of the City is vested in the Common Council; all records, minutes and all 	written proceedings thereof shall be kept by the City Clerk’ the City Clerk shall 	keep all the financial records.

(b)	CONSTRUCTION.  The Common Council shall have the power to construct 	wastewater treatment facilities, pumping stations and sewer lines for public use, 	and shall have the power to lay sewer pipes in and through the alleys, streets and 	public 	grounds of the City; and generally, to do all such work as may be found 	necessary or convenient in the management of the wastewater facilities.  The 	Common Council shall have power by themselves, their officers agents and 	representatives to enter upon any land for the purpose of making examination in 	the performance of their duties under this Ordinance, without liability therefore; 	and the Common Council shall have power to purchase and acquire for the City 	any real and personal property which may be necessary for construction of the 	wastewater facilities, or for any repair, remodeling, or additions thereto.

(c)	CONDEMNATION OF REAL ESTATE.  Whenever the Common Council 	determines that any real estate or any easement is necessary to the wastewater 	facilities, and if a purchase agreement with the Owner is not possible, then the 	Common Council may proceed pursuant to Wis. Stat. ch. 32.  If funds from the 	U.S. Government will be used for the project associated with the real estate or 	easement, the Common Council shall also proceed in accordance with the 	Uniform Relocation and Real Property Acquisition Policy Act of 1970.

(d)	TITLE TO REAL ESTATE AND PERSONALTY.  All property, real, 	personal and mixed, acquired for the construction of the wastewater facilities, and 	all diagrams, buildings, machinery and fixtures pertaining thereto, shall be the 	property of the City.

Section 7.4	GENERAL SEWER USE REGULATIONS

(a)	The rules, regulations,	and sewer rates set forth in this Ordinance shall be 	considered a part of the contract between the City and every person, company, or 	corporation who is connected to or uses the sewer system or wastewater treatment 	works.  No person may connect to the Sewer System without first obtaining a 	permit for such connection from the City.  By connecting with the sewer system 	or wastewater 	treatment works every such person company, or corporation shall 	be considered as expressing their assent to be bound thereby.  If any of the rules 	and regulations of this Ordinance, now or as later amended or adopted, are 	violated, the use or service shall be shut off from the building or place of such 	violation, even if two 	or more parties are receiving 	service through the same 	connection. The use or service shall not be re-established except by order of the 	Common Council and on payment of all arrears, expenses and charges of 	shutting off and putting on, and such other terms as the City may determine, 	and a satisfactory understanding with the violator that no further cause for 	complaint will arise.  The Common Council 	may further declare any payment 	made of the service by the violator(s) to be forfeited and the same shall 	thereupon be forfeited.  The City reserves the right to change these rules, 	regulations, and sewer rates from time to time as it may deem advisable and 	the right to make special rates and contracts in all proper cases.

(b)	PLUMBER LICENSE REQUIRED.  No one will be permitted to do any 	plumbing or pipe fitting work on systems connecting to the public sewer system 	without first receiving a license from the State of Wisconsin.  All service 	connections to the sewer main shall comply with the State plumbing code.

(c)	SEPTIC TANKS PROHIBITED.  From December 31, 1988 the use of septic 	tanks, drain fields, cesspools, holding tanks or any other private sewage disposal 	system within the sewer service area of the City shall not be permitted unless 	approved by the Common Council.

(d)	MANDATORY HOOK-UP.  The owner of each parcel of land within the City 	adjacent to a sewer main and on which exists a building where persons reside, 	congregate or are employed, or in a block through which such system is extended, 	shall connect to such system by installing a building sewer exclusive to that parcel 	within 365 days of notice in writing from the City.  Upon failure to do so, the City 	may cause such connection to be made and bill the property owner for such costs.  	If such costs are not paid within 30 days, such costs shall be assessed as a special 	tax against the property.  The full cost of making the connection shall be the 	property owner’s responsibility.  In the alternative, the City at its option may 	impose a penalty for the period that the violation continues, after 10 days written 	notice to any owner failing to make a connection to the sewer system, in the 	amount of $5 per day.  Upon failure to make such payment, said charge shall be 	assessed as a special tax against the property, all pursuant to Wis. Stat. 281.45.  	The City may waive mandatory hook-up in cases where connection is determined 	to be impractical.

(e) 	APPLICATIONS FOR SERVICE.  Every person desiring to connect to the 	sewer system shall file an application in writing with the City Clerk on such form 	as is prescribed for that purpose.  Such application forms will be furnished at the 	office of the City Clerk.  The application mush state fully and truthfully all the 	wastes which will be discharged.  If the applicant is not the owner of the 	premises, the written consent of the owner must accompany the application.

Application for sewer service is limited to parcels within the corporate limits of 	the City unless a connection exists on June 1, 2010.  Surcharged rates will apply 	to any parcel located outside of the corporate limits of the City that the City 	accept for service.

If it appears that the service applied for will not provide adequate service for the 	contemplated use, the City may reject the application.  If the City approves the

application, it shall issue a permit for services as shown on the application upon 	payment of the connection charge.

(f)	UTILITY RESPONSIBILITY.  It is expressly stipulated that no claim shall be 	made against the City, City or acting representative by reason of the breaking, 	clogging, stoppage, or freezing of any service pipes; nor from any damage arising 	from repairing mains, making connections or extensions or any other work that 	may be deemed necessary.  The right is hereby reserved to cut off the service at 	any time for the purpose of repairs of any other necessary purpose, any permit 	granted or regulations to the contrary notwithstanding.  Whenever it shall become 	necessary to shut off the sewer within any district of the City, the City Clerk 	shall, if practicable, give notice to each and every customer within the affected 	area of the time when such service will be shut off.

(g)	RV DUMPING STATIONS.  Domestic waste holding tanks on Recreational 	Vehicles and trailers shall only be permitted to discharge at the wastewater 	treatment facility after the fee specified in Section 7.9(h) has been paid.

(h)	ADDITIONAL AUTHORITY.  The Common Council may at any time 	establish specific connection charges for any building sewer connected or 	connecting to amend or alter any connection charge after its establishment under 	the terms of this Ordinance or previous ordinances or resolutions.

Section 7.5	USER REGULATIONS

(a)	INDEPENDENT BUILDING SEWER REQUIRED.  Building sewers must be 	used exclusively by only one property.  No user or owner shall allow other 	persons, other private sewers or other services to connect to the sewer system 	through their property’s building sewer, If two or more buildings are served by 	one building sewer, the City may enforce compliance for mandatory hood-up 	pursuant to Section 7.3(d).

(b)	MAINTENANCE OF BUILDING SEWER.    The property owner shall 	maintain the building sewer from the street main to the house, including all 	controls between the same, without expense to the City, except when they are 	damaged as a result of negligence or intentional willful misconduct by the City.  	All building sewers must be maintained free of defective conditions by and at the 	expense of the owner or occupant of the property.

(c)	USER TO REPAIR BUILDING SEWER.  All users shall keep their building 	sewers in good repair and protected from frost at their own risk and expense and 	shall prevent any unnecessary overburdening of the sewer system.

(d)	BACKFLOW PREVENTOR.  All sewer services shall have a backflow 	prevention valve installed and maintained at the owner’s expense.

(e)	VACATING OF PREMISES AND DISCONTINUANCE.  Whenever premises 	served by the system are to be vacated, or whenever any person desires to 	discontinue service from the system; then the owner or user must notify the City 	Clerk in writing.

(f)	USER TO PERMIT INSPECTION.  Every user shall permit the City, City or 	its duly authorized agent, at all reasonable hours of the day, to enter their premises 	or building to examine the pipes and fixtures, and the manner in which the drains 	and sewer connections operate; and they must at all time, frankly and without 	concealment, answer all questions put to them relative to its use, all in accordance 	with this Ordinance and Wis. Stat. 196.171.

Section 7.6	BUILDING SEWER (LATERAL) CONSTRUCTION

(a)	EXCAVATIONS.  An excavation permit shall be obtained from the City before 	beginning work for laying building sewers or making repairs.  All work shall be 	performed in accordance with this Ordinance, and the paving and the earth 	removed shall be deposited in a manner that will result in the least inconvenience 	to the public.

No person shall leave any such excavation made in any street or highway open at 	any time without barricades; and, during the night, warning lights must be 	maintained at such excavations.

In backfilling the excavation, after the pipes are laid, the owner or owner’s agent 	shall place suitable material in layers of not more than six inches (6”) in depth 	with each layer thoroughly compacted to prevent settling.  This work, together 	with the replacing of sidewalks, base course and paving, must be done so as to 	make the street as good, at least, as before it was disturbed, and satisfactory to the 	City.  No opening of the streets for tapping the pipes will be permitted when the 	ground is frozen.

(b)	TAPPING THE MAINS.  Permission and approval from the City is required 	before any person may tap any public sanitary sewer.  The kind and size of the 	connection with the pipe shall be that specified in the permit from the City, to 	ensure that new sewers and connections to the sewer system are properly designed 	and constructed.

Pipes must be tapped on the upper quadrant of the pipe and not within 6 inches of 	a joint and not within 24 inches of another lateral connection.  All service 	connections to mains must comply with State plumbing code.  Lateral connections 	to existing sewers shall be made into saddles and by coring the existing sewer or 	by inserting (cutting-in) a wye or tee into the existing sewer.  The wye or tee shall 	be of the same pipe material as the existing sewer.  The lateral/tee connections 	shall be made with approved adaptors or couplings.

(c)	INSTALLATION OF BUILDING SEWERS (LATERALS).  All building 	sewer pipes (laterals) on private property will be installed in accordance with 	State of Wis. Admin. Code ch. Comm 82 entitled “Design, Construction, 	Installation, Supervision, and Inspections of Plumbing,” especially Wis. Admin. 	Code Comm 82.30, entitled “Sanitary Drain Systems.”

All building sewers, and/or private interceptor main sewer shall be inspected by 	the City pursuant to Wis. Admin. Code Comm 82.21 upon completion of

placement of the pipe and before backfilling and shall be tested before or after 	backfilling.

New or replacement building sewers shall be ASTM D3034 SDR 26 PVC with 	tracer wire.  Tracer wire within a PVC conduit shall be extended to the surface at 	the exterior wall of the building served.

(d)	CLEARWATER CONNECTION PROHIBITED.  No person shall make 	connections of roof downspouts, foundation drains, sump pumps, yard drains, or 	other sources of surface runoff or groundwater to a building sewer or building 	drain that is connected directly or indirectly to the public sewer, Any existing 	connections of surface runoff or groundwater shall be disconnected by the owner 	or the owner’s agent within 60 days of written notice from the City.

(e)	INSPECTION OF CONNECTION.  The applicant for connection shall notiy 	the City Clerk when the building sewer is ready for inspection and connection to 	the public sewer.  The actual connection shall be made under the supervision of 	the City.

Section 7.7	EXTENSIONS OF SEWER MAINS

The City shall extend sewer mains in accordance with the following charges and the following conditions:

(a)	APPLICATION.  When an extension of a sewer main is requested by the 	prospective user, said person should make an application for such an extension in 	writing to the City of the City by filing of a written application.  After the filing of 	such an application, the City shall determine the logical location of the next 	manhole and determine the length and location of the extension, taking into 	consideration and prospective demands for service, the capacity of downstream 	facilities, and the orderly development of the particular area.  No extension shall 	be made for a distance less than the next manhole per Wis. Admin. Code 	110.13(3).  All sewers extensions shall be constructed in compliance with local 	and state laws, ordinances and regulations,  All sewer extensions shall be subject 	to approval by the Common Council.

(b)	PAYMENT BY USERS.  The cost of all sewer extensions in the City shall be 	paid through one or more of the following methods:

(i)	PAYMENT OF COSTS,  The Common Council may recoup the 				costs of sewer main extensions through entering a developer’s 				agreement under Wis. Stat. 66.0821(2) or through special 					assessment under Wis. Stat. 66.0703.

(ii)	FUTURE USERS.  If a sewer main extension is financed by a 				developer(s) and a future sewer main extension is connected to the 				developer-financed extension within three years of its completion, 				then Wis. Admin. Code ch. PSC 187 shall apply.

(c)	CONSTRUCTION.  If the City constructs the extension, full payment shall be 	made before construction begins unless otherwise agreed between the person 	requesting the extension and the Common Council.  If the developer 	constructs the extension, no construction shall begin until the Common Council, 	the City Engineer, and any necessary County and State departments approve the 	plans.  When construction is complete and all tests have been satisfactorily 	completed and all necessary right-of-ways or easements have been recorded, the 	City shall assume responsibility for the extension.

(d)	PRESSURE SEWER.  The City will consider the use of low-pressure sewer 	systems where the developer demonstrates that pressure sewer is cost-effective 	compared to a conventional gravity system or offers overriding environmental 	benefit.  For both types of systems, the City will operate and maintain only that 	portion of the system within the public street or easement.

(i)	Cost-Effectiveness Analysis.  The developer’s engineer shall prepare a 			cost-effectiveness analysis comparing gravity sewer to pressure sewer.  			The analysis shall include both the cost of the sewer in the public street 			and the private sewer including the grinder pump.  Estimated power and 			maintenance costs shall be in included.  Environmental benefits such as 			reduced disturbance of steep hillsides may also be considered.  The City 			mush concur with the selection of pressure sewer before detailed design 			proceeds.

(ii)	Design Requirements.  Complete hydraulic calculations demonstrating 			flow and head conditions at both initial (first year) and fully developed 			conditions shall be prepared.  Pressure sewer mains shall be SDR 11 			HDPE.  Pressure sewer building sewers to single-family users shall be 1 			¼”.  The developer shall provide a 1 1 /4” curb stop and box at the 				property line.  The developer shall connect to the main in the street with a 			fused HDPE tee, install all pipes with a 7 ft. minimum cover, and provide 			approved flushing connections at deadends, changes in pipe size, changes 			in direction and at intervals no greater than 1000 ft.  Depending on the 			length of the system and number of connections, special odor-control 			methods or equipment may be required by the City at the discharge.

(iii)	Construction.  All construction shall meet DNR and DOC requirements.  			Grinder pumps shall be furnished, installed and maintained by the user.  			Individual grinders for each single-family unit shall be provided except 			where multiple living units are under common ownership.  The user shall 			also install the building sewer and make connection to the curb stop at the 			public street.  Where a building sewer stub and curb stop were not 				provided during initial construction, the user shall install the building 			sewer to the main within the street.  Only grinder pump units approved by 			the City are permitted to be connected to the sewer system.  The user’s 			sewer system and grinder pump shall be protected from clear water entry, 			including flood waters.  No open sewer fixtures or grinder pump unit 			cover shall be locate lower than 2 ft. above the 100 – year flood elevation.

(iv)	Notice to Purchaser.  It is the seller’s responsibility to provide notice to the 		lot purchaser about the City policies related to connection to pressure 			sewers.  The City’s pressure sewer User Information sheet and Typical 			Installation plan shall be provided to each lot purchaser served by pressure 		sewer.

Section 7.8 	SEPTAGE DISPOSAL

(a)	APPLICATION FOR SEPTAGE DISPOSAL.  Between August 1 and 	September 1 of each year, each licensed disposer wishing to discharge septage to 	the City wastewater treatment works shall file a nonrefundable filing fee and an 	application in writing with the City Clerk on such form as is prescribed for that 	purpose. During the months of July and August, forms for such application 	will be furnished at the office of the City Clerk.  The application must state fully 	and truthfully the type, frequency, quantity, quality and location of generated 	septage to be disposed in the wastewater treatment works.  The forms prescribed 	for the purpose of documentation of the discharge will be furnished at the City 	Clerk’s office and will include all of the following information:

(i)	Name, address and telephone number of the hauler

(ii)	License number

(iii)	Type of septage

(iv)	Quantity of septage

(v)	Estimated quality of septage

(vi)	Location, date, time and feed rate of discharge

(vii)	Source of septage

(viii)	Name and address of septage generator

(ix)	Other information as required by the City

During the month of September, the City will evaluate the applications and make 	a determination as to the amount and conditions of septage disposal.  The City 	shall approve or reject all applications by October 1 of each year. If the City 	cannot accept all the proposed septage disposal, then consideration shall be given 	first to those generators of septage that are within the sewer service or holding 	tank service areas (see Wis. Admin. Code NR 205.07(2)(e) and (f)).

(b)	BOND AND INSURANCE REQUIRED.  The person(s) or party disposing 	waste shall furnish bond to the City in the amount of $1,000 to guarantee 	performance.  Said performance bond shall be delivered to the City Clerk prior to 	the issuance of the permit hereunder.  Any person or party disposing of septage 	agrees to carry public liability insurance in an amount not less than one hundred 	thousand dollars ($100,000) to protect any and all persons or property from injury 	and/or damage caused in any way or manner by any act, or failure to act, by any 	of his employees.  The person(s) shall furnish a certificate certifying such 	insurance to be in full force and effect and naming City as an additional insured.

All City approvals for septage disposal shall have the condition that any time the 	sewerage system has operational problems, maintenance problems or threat of 	WPDES permit violations that are indirectly or directly related to septage

disposal, the City may immediately restrict septage disposal until such time as 	corrective action or mitigative measrures have been taken.

(c)	SEPTAGE ACCEPTANCE LOCATION.  Septage shall only be discharged to 	the City’s sewer system by City-approved and State of Wisconsin licensed 	disposers and at locations, times and conditions as specified by the City.  Septage 	discharges to the receiving facility at the wastewater treatment facility shall be 	limited to the normal working hours of the facility.  Documentation of the 	discharge shall be submitted to the City Clerk within one working day of the 	discharge.

Section 7.9	DISCHARGE REGULATIONS

(a)	GENERAL DISCHARGE PROHIBITIONS.  No person shall contribute or 	cause to be discharged, directly or indirectly, any of the following described 	substances into the wastewater facilities of the City:

(i)	Any liquids, solids or gases which by reason of their nature or quantity 			are, or may be, sufficient either alone or by interaction to cause fire or 			explosion or be injurious in any other way to the operating of the 				wastewater facilities or wastewater treatment works.

(ii)	Solid or vicious substance which will or may cause obstruction to the flow 		in a sewer or other interference with the operation of the wastewater 			system.

(iii)	Any wastewater having a pH less than 6.0 or higher than 9.0 or having any 		other corrosive property capable of causing damage or hazard to 				structures, equipment, or personnel of the system unless the system is 			specifically designed to accommodate such wastewater.

(iv)	Any wastewater containing arsenic, cadmium, copper, chromium, 				chloride, cyanide, lead, mercury, nickel, zinc, or other toxic pollutants in 			sufficient quantity, either singly or by interaction, to injure or interfere 			with any wastewater treatment process, constitute a hazard to humans or 			animals, or to exceed the limitation set forth in special agreements, State 			or Federal Categorical Pretreatment Standards.

(v)	Any noxious or malodorous liquids, gases or solids which either singly or 			by interaction are capable to creating a public nuisance or hazard to like or 		health which are sufficient to prevent entry into the sewers for their 			maintenance or repair.

(vi)	Any substance that may cause the wastewater treatment works effluent, 			treatment residues, sludge or scum to be unsuitable for reclamation and 			reuse or to interfere with the reclamation process.

(vii)	Any substance that will cause violations of the WPDES permit or other 			disposal system permits.

(viii)	Any substance with objectionable color not removed in the treatment 			process, such as, but not limited to, dye wastes and vegetable tanning 			solutions.

(ix)	Any wastewater having a temperature that will inhibit biological activity 			in the wastewater treatment works resulting in interference; but in no case, 		wastewater with a temperature at the introduction into the public sewer 			that exceeds 120o F unless the wastewater facilities are designed to 				accommodate such temperature.

(x)	Any slug load, which shall mean any pollutant, including oxygen-				demanding pollutants (BOD5), released in a single extraordinary discharge 		episode of such volume or strength as to cause interference with the 			wastewater treatment works.

(xi)	Any unpolluted water including, but not limited to, non-contact cooling 			water.

(xii)	Any wastewaters that may be acutely or chronically toxic to aquatic life or 		wild or domestic animals.

(xiii)	Any wastewater containing any radioactive wastes or isotopes of such 			half-life or concentration as exceed limits established by the City in 			compliance with applicable State or Federal regulations.

(xiv)	Any wastewater that causes a hazard to human life or health or creates a 			public nuisance.

(xv)	Any storm water, surface water, groundwater, roof run-off or surface 			drainage or any other connections from inflow sources to the public sewer.  		Such waters may be discharged to a storm sewer or other waterway with 			permission of the City.

(b)	LIMITATIONS ON WASTEWATER STRENGTH

(i)	National categorical pretreatment standards shall, as promulgated by the 			U.S. Environmental Protection Agency, be met by all discharges to the 			regulated industrial categories.

(ii)	State requirements and limitations on all facilities shall be met by all 			dischargers who are subject to such standards in any instance in which 			they are more stringent than other applicable requirements, including 			without limitation those requirements set forth under this Ordinance.

(iii)	The Common Council reserves the right to amend this Ordinance to 			provide for more stringent limitations or requirements on discharges to the 		wastewater facilities where deemed necessary to comply with the 				objectives set forth in this Ordinance.

(c)	DILUTION.  No user shall increase the use of potable or process water in any 	way, nor mix separate waste streams for the purpose of diluting a discharge as a 	partial or complete substitute for adequate treatment to achieve compliance with 	the standards set forth in this Ordinance unless approved in writing by the City.

(d)	SUPPLEMENTARY LIMITATIONS.  No user shall discharge wastewater 	containing concentrations of the following enumerated materials exceeding the 	following values unless prior approval is granted by the City:

Material					Concentration (mg/L)

Biochemical Oxygen Demand			260 mg/L

Suspended Solids					300 mg/L

Fats, Oil and Grease (FOG)				100 mg/L

Phosphorus						  10 mg/L

Mercury						Non-detectable

The City may also impose mass limitations on users that are using dilution to 	meet the Pretreatment Standards or requirements of this Ordinance or in other 	cases where the imposition of mass limitations is deemed appropriate by the City.

(e)	ACCIDENTAL DISCHARES.  Each user shall provide protection from 	accidental discharge of prohibited or regulated materials or substances established 	by this Ordinance.  Where necessary, facilities to prevent additional discharge of 	prohibited materials shall be provided and maintained at the user’s cost and 	expense.  Detailed plans showing facilities and operating procedures shall be 	submitted to the City for review, and shall be approved by the City before 		construction of the facility.  Review and approval of such plans and operating 	procedures by the City shall not relieve the user from the responsibility to modify 	its facility as necessary to meet the requirements of this Ordinance.

Dischargers shall notify the City immediately upon the occurrence of a “slug 	load” or accidental discharge of substances prohibited by this Ordinance.  The 	notification shall include location of discharge, date and time thereof, type of 	waste, concentration and volume, and corrective actions. Any user who 	discharges a slug load or prohibited materials shall be liable for any expense, loss 	or damage to the City’s wastewater facilities on wastewater treatment works, in 	addition to the amount of any forfeitures imposed on the City on account thereof 	under State or Federal law.

Signs shall be permanently posted in conspicuous places on industrial user’s 	premises, advising employees who to call in the event of a slug or accidental 	discharge.  Employers shall instruct all employees who may cause or discover 	such a discharge with respect to emergency notification procedures.

(f)	GREASE INTERCEPTORS.  All Food Service Facilities shall provide indoor 	or outdoor grease interceptors per Wis. Admin. Code Comm 82.34(5).  	Documentation on maintenance shall be provided to the City on request.  	Abnormal sewer or lift station maintenance expenses caused by discharge of 	grease shall be the responsibility of the discharger.

(g)	AMALGAM MANAGEMENT AT DENTAL FACILITIES.  Any dental 	office that places or removes amalgam shall implement the amalgam management 	practices established by the Wisconsin Dental Association.  Practices include 	capturing and recycling all forms of waste amalgam from empty capsules, excess 	scrap, chair-side traps, and vacuum filters.  This section does not apply to dental 	facilities that do not place or remove amalgam, such as orthodontics, periodontics, 	oral and maxilla-facial surgery, endodontics or prosthodontics facilities.  Every 	vacuum system where amalgam is placed or removed shall incorporate an 	amalgam separator that meets ISO 11143 standards by January 1, 2010.  Facilities 	shall install, operate and maintain the amalgam separator according to 	manufacturer’s instructions.  The amalgam separator must be of sufficient 	capacity for the size of dental facility and vacuum system.

Records of amalgam separator maintenance shall be retained for a minimum of 	three years and shall be readily available for inspection and copying upon request 	by the City.  Records must contain volume or weight of amalgam waste, name 	and address of shipper and name and address of destination. Dental facilities shall 	allow the City to enter the premises during normal operating hours for the purpose 	of inspection or records examination.  Dental facilities implementing Wisconsin 	Dental Association BMPS and operating and maintaining an amalgam separator 	are exempt from numerical mercury discharge limits as listed in Section 7.9(d).

(h)	GROUNDWATER REMEDIATION DISCHARGES TO SEWER.  The 	requesting discharger or contracted agent shall file a notice of intent to discharge 	groundwater form with the City.  The form shall include lab analysis for BTEX 	(Benzene, Toluene, Ethyl Benzene, Xylenes) compounds, gasoline range organics 	(GRO) and/or diesel range organics (DRO), as determined by the City on a case-	by-case basis depending on the site.  All sampling and analysis shall be performed 	in accordance with procedures contained in 40 CFR Part 136, Wis. Admin. Code 	ch. NR 219, or other such methods approved by the City.  The City shall reply 	with acceptance or non-acceptance within thirty (30) days of the receipt of all 	required information.  Acceptance shall be accompanied by monitoring 	requirements and estimated sewer use charges.  Any change in ownership or 	contracted remediation party will require the resubmission of the above 	information prior to the continuance of any remediation discharge.

(i)	SPECIAL AGREEMENTS.  No statement contained in the Ordinance shall be 	construed as prohibiting any special agreement between the City and any person 	whereby an industrial waste of unusual strength or character may be admitted to 	the wastewater facilities or wastewater treatment works, either before or after 	pretreatment, provided that there is no impairment of the functioning of the 	wastewater treatment works by reason of the admission of such wastes, and no 	extra costs are incurred by the City without recompense by the person, provided 	that all rates and provisions set forth in such agreement are complied with.

Section 7.10	SEWER USER CHARGE SYSTEM

(a)	ADDITIONAL DEFINITIONS

The following terms shall have the following meaning under this Ordinance:

(i)	DEBT SERVICE CHARGES shall mean all costs associated with 			repayment of debts incurred for the construction and/or rehabilitation of 			wastewater facilities and wastewater treatment facilities.

(ii)	NORMAL DOMESTIC STRENGTH WASTEWATER shall mean 			wastewater with concentrations of BOD5 no greater than 260 milligrams 			per liter (mg/L), suspended solid no greater than 300 milligrams per liter 			(mg/L) and phosphorus no greater than 10 milligrams per liter (mg/L).

(iii)	NORMAL USER shall mean a user whose contributions to the sewer 			system consist only of normal domestic strength wastewater originating 			from a house, apartment, or other living quarters occupied by a person or 			persons constituting a distinct household, business or commercial 				enterprise.

(iv)	OPERATON AND MAINTENANCE (O&M) COSTS shall mean all 			costs associated with the operation and maintenance of the wastewater 			facilities and wastewater treatment works.  These costs, including costs 			associated with clear water flows (I/I), shall be divided proportionately 			among the various classes of sewer users.

(v)	REPLACEMENT COSTS (R) shall mean all costs necessary to 				accumulate the resources as required to maintain capacity and 				performance during the design life of the facility.  Two separate, 				segregated, district Replacement Funds shall be established.  The 				Treatment Replacement Fund shall be used only for replacement of 			equipment at the Wastewater Treatment Works.  The Sewer Replacement 			and Extension Fund shall be used only for extension, replacement or 			rehabilitation of sanitary sewers.

(vi)	SEWER SERVICE CHARGE is a service charge levied on users of the 			sewer system for payment of Debt Service, Operation and Maintenance 			costs and Replacement of said facilities.

(b)	POLICY.  It shall be the policy of the City to obtain sufficient revenues to pay 	the costs for the debt service, operation and maintenance of the wastewater 	facilities, including the replacement funds, through a system of sewer service 	charges as defined in this section.  The system shall assure that each user of the 	wastewater facilities pays their proportionate share of the cost of such wastewater 	facilities.

(c)	CONNECTION CHARGE.  Persons attaching to a public sewer main shall have 	the building sewer from the sewer main installed at their own expense and shall 	pay a connection charge as follows:

Residential (Single family)				$500

Multiple Family Residential (per dwelling unit)	$250 per dwelling unit

Churches						$400

Commercial & Industrial (Domestic Only)		$500

Motels & Laundromats			$600

Hospitals and Clinics				$2,500

Schools						$2,500

(d)	BASIS FOR SEWER SERVICE CHARGE.  The sewer service charge shall be 	based on two parts, the Residential Equivalency Unit Charge plus the Sewer Use 	Charge.  The Residential Equivalency Unit Charge and Sewer Use Charge shall 	be sufficient to pay the costs of net Debt Service charges, the Replacement Funds 	costs and fixed Operation and Maintenance costs.  The rates in this Ordinance 	shall be reviewed by the City not less than biennially.  Rates shall be adjusted, as 	required, to reflect the actual volume of water used, number and size of users and 	actual costs.  Users shall be notified annually of the portion of service charges 	attributable to debt service and operation, maintenance, and replacement.

(e)	RESIDENTIAL EQUIVALENCY UNIT CHARGE.

(i)	A Residential Equivalency Unit Charge (REU) is hereby imposed upon 			each lot, parcel of land, building or premise served by the sewerage 			system or otherwise discharging sewage including non-domestic and 			industrial wastes, into the sewer system.  Such residential equivalency 			charge shall be payable as herein provided and shall be on the basis of one 		unit for each residential equivalent unit.  Each single-family 				dwelling shall be assigned one unit.  A single- family dwelling is defined 			as a mobile home, a seasonal dwelling, a duplex unit, and apartment unit, 			a single family detached dwelling or a unit in a multi-family building.

(ii)	Periodically the Clerk shall recompute the assignment of residential 			equivalent units to all users within the sewer system.  Said recalculation 			shall be based upon the average amount of water used by each customer 			(other than single-family dwellings) compared to the average amount of 			water used by all single-family dwellings for the 4 most recent quarters.  			In no event shall each customer (other than single-family dwellings) be 			assigned a residential equivalent unit that is less than one unit.  A list of 			calculated REU units is included as Appendix A.  A new user will be 			assigned initial REU units based on Appendix B.

(f)	SEWER USE CHARGE.  A Sewer Use Charge is hereby imposed on all users 	of the sewer system based upon the metered water used thereon or therein as 	calculated by the City or its designee.  This Sewer Use Charge shall be computed 	by dividing the proposed net yearly debt service, operation, maintenance and 	replacement budgets as provided in this Ordinance by the previous year’s average 	billable water usage.

Any refrigeration, air conditioning/humidification system or industrial cooling 	water not entering the sewer system shall not be used in computing the Sewer Use 	Charge if a separate meter is installed.  The user of such refrigerator, air 	conditioning/humidification system or industrial cooling water system shall be 	responsible for furnishing, installing and maintaining the necessary meter.

Such Sewer Use Charge shall be payable as hereinafter provided and in an 	amount determinable as follows:

(i)	CATEGORY A is defined as normal or domestic strength wastewater 			having organic concentrations of biochemical oxygen demand (BOD5) no 			greater than 260 milligrams per liter (mg/L), total suspended solids (TSS) 			no greater than 300 milligrams per liter (mg/L) and Phosphorus (P) no 			greater than 10 milligrams per liter (mg/L).  The Sewer Service Charge for 		Category A wastewater shall be established by ordinance of the Common 			Council from time to time and notice of any rate established shall be 			provided at least one month before the change is effective.

(ii)	CATEGORY B is defines as wastewater having concentrations of 				Biochemical Oxygen Demand (BOD5) greater than 260 milligrams per 			liter (mg/L), Phosphorus (P) greater than 10.0 milligrams per liter (mg/L) 			and/or total suspended solids (TSS) greater than 300 milligrams per liter 			(mg/L).  The minimum Category B charge will be based on a 				concentration of 260 mg/L BOD5. 10.0 mg/L P and 300 mg/L TSS.  The 			Sewer Service Charge for Category B wastewater shall be established by 			ordinance of the Common Council from time to time and notice of any 			rate established shall be provided at least one month before the change is 			effective.

(iii)	CATEGORY C is defined as septage or holding tank wastewater that has 			concentrations of Biochemical Oxygen Demand (BOD5) greater than 260 			milligrams per liter (mg/L), Phosphorus (P) greater than 10.0 milligrams 			per liter (mg/L) and/or total suspended solids (TSS) greater than 300 			milligrams per liter (mg/L).  Charges will be based on the unit prices 			provided in the current rate schedule plus an administrative charge of $25 			per load.  It will be assumed that holding tank wastewater has a BOD5 of 			600 mg/L, P of 20 mg/L and a TSS of 1,800 mg/L and septic tank 				wastewater has a BOD5 of 5,000 mg/L, P of 200 mg/L and TSS of 15,000 			mg/L unless an actual analysis is furnished by the discharger.  The Sewer 			Service Charge for Category C wastewater shall be stablished by 				ordinance of the Common Council from time to time and notice of any 			rate established shall be provided at least on month before the change is 			effective.

(g)	SEWER SERVICE CHARGE AMOUNTS.  The amount of the Residential 	Equivalency Charge (REC) and the Sewer Use Charge as listed in Appendix A.

(h)	RV DUMPING STATIONS.  Notwithstanding anything contained in the 	Ordinance to the contrary, sewage dumping stations serving domestic waste 	holding tanks on Recreation Vehicles and trailers shall pay $10 per use.

(i)	UNIQUE USERS.  The City, at any time hereafter, establish additional rates for 	any large commercial service, industrial user or any other unique user that does 	not readily fit into other user categories.

(j)	REASSIGNMENT OF SEWER USERS.  The City will reassign sewer users 	into appropriate Sewer Use Charge categories if wastewater sampling programs 	and other related information indicate a change of categories is necessary.

Section 7.11	PAYMENT FOR CHARGES

(a)	PAYMENT AND PENALTY.  The Sewer Service Charge shall be for the 	corresponding period of the water bills, monthly for all users.  Charges shall be 	payable to the City Clerk not later than 20 days after the date of the invoice.  A 	penalty of one percent (1%) per month shall be added to all bills not paid by the 	date fixed for payment.

(b)	CHARGES A LIEN.  All Sewer Service charges imposed by this Ordinance or 	another ordinance adopted by the City shall be a lien upon the property serviced 	pursuant to Wis. Stat. 66.0809(3) and shall be collected in the manner therein 	provided.

(c)	DISPOSITION OF REVENUE.  The amounts received from the collection of 	charges authorized by this Ordinance shall be credited to a wastewater facilities 	account that shall show all receipts and expenditures of the wastewater facilities.  	Charges collected for Replacement Funds shall be credited to segregated, non-	lapsing Replacement accounts.  These funds are to be used exclusively for the 	replacement purpose defined by the City.  All present outstanding sewer system 	general obligation bonds, including refunding bonds and revenue bonds shall be 	paid from the wastewater facilities fund as to both principal and interest.

Section 7.12	INDUSTRIAL AND SEPTAGE WASTEWATERS

(a)	DISCHARGE CONDITIONS.  If any wastewaters or septage are discharged, or 	proposed to be discharged, to the wastewater facilities that contain substances or 	possess the characteristics which violate the limits and regulations enumerated in 	Section 7.8 and which, in the sole discretion of the City may be detrimental to the 	wastewater facilities, the City may:

(i)	Reject the wastes;

(ii)	Require pretreatment to an acceptable condition for discharge to the sewer 		system;

(iii)	Require control over the quantities and rates of discharge

(iv)	Require payment to cover the added cost of handling and treating the 			wastewater not covered by existing sewer service charges under the 			provisions of Section 7.10(f)(iii).

(b)	SEPTAGE DISCHARGES.  Septage discharged to the wastewater facilities 	shall be of domestic origin only and septic tank wastes shall be segregated from 	holding tank wastes.

(c) 	CONTROL MANHOLES

(i)	Each person discharging industrial wastes into a public sewer shall 				construct and maintain one or more control manholes or access points at 			each connection to the sewer system to facilitate observation, 				measurement, and sampling their waste, excluding domestic sewage when 			feasible.

(ii)	Control manholes or access facilities shall be located and built in a manner 		acceptable to the City.  If measuring devices are to be permanently 				installed, they shall be of a type acceptable to the City.

(iii)	Control manholes, access facilities, and related equipment shall be 				installed by the person discharging the industrial waste, at their expense, 			and shall be maintained by the person discharging the waste so as to be in 			safe condition, accessible, and in proper operating condition at all times.  			Plans for installation of the control manholes or access facilities and 			related equipment shall be subject to approval by the City prior to the 			beginning of construction.

(d)	MEASUREMENT OF FLOW.  The volume of flow used for computing the 	Sewer Use Charge for non-septage disposal shall be based upon the water 	consumption of the person as shown in the records of meter readings maintained 	by the City Water Utility unless approved wastewater flow meter are provided.

(e)	PROVISION FOR DEDUCTIONS.  In the event that a person discharging 	industrial waste into the public sewers produces evidence satisfactory to the City 	that more than 10 percent of the total annual volume of water used for all 	purposes does not reach the public sewer, then the determination of the water 	consumption to be used in computing the wastewater volume discharged into the 	public sewer may be made a matter of agreement between the City and the 	industrial wastewater discharger.

(f)	METERING OF WASTEWATER.  Devices for measuring the volume of 	wastewater discharged may be required by the City of this volume cannot 	otherwise be determined from the metered water consumption records.  Metering 	devices for determining the volume of wastewater shall be furnished, installed, 	owned, and maintained by the person discharging the wastewater.  Following 	approval and installation, such meters may not be removed without the consent of 	the City.

(g)	WASTEWATER SAMPLING

(i)	Industrial wastes and septage discharged into the public sewers shall be 			subject to periodic inspection and a determination of character and 				concentration of said waste as specified by the City.

(ii)	Samples shall be collected in such a manner as to be representative of the 			composition of the wastes.  The sampling may be accomplished either 			manually or by the use of mechanical equipment acceptable to the City.

(iii)	Laboratory analysis shall be the responsibility of the person discharging 			the wastewater or septage and shall be subject to the approval of the City 			or its duly authorized representatives.  Every care shall be exercised in the 			collection of samples to ensure their preservation in a state comparable to 			that at the time the sample was taken.  All analysis shall be performed by a 		Wisconsin certified laboratory.

(h)	PRETREATMENT.  The City may require the discharger to modify or eliminate 	wastes that are harmful to the structures, processes, or operation of the wastewater 	facilities.  The discharger shall provide at their expense such preliminary 	treatment or processing facilities as may be required to render this waste 	acceptable for admission to the public sewers.

(i)	GREASE AND/OR SAND INTERCEPTORS.  The City may require the 	discharger to provide for grease, oil, and sand interceptors, which shall be readily 	and easily accessible for cleaning the inspection.  The discharger shall maintain 	the interceptors and shall be responsible for the proper removal and disposal by 	appropriate means of the captured material and shall maintain records of the dates 	and means of disposal that are subject to review by the City.  Any removal and 	hauling of the collected materials not performed by the discharger’s personnel 	must be performed by currently licensed disposal firms.  All Food Service 	Facilities shall provide indoor and outdoor grease interceptors per Wis. Admin. 	Code Comm 82.34(5).  Documentation on maintenance shall be provided to the 	City on request.  Expenses associated with abnormal sewer or lift station 	maintenance caused by discharge of grease shall be the responsibility of the 	discharger.

(j)	ANALYSIS

(i)	All measurements, tests, and analyses of the characteristics of water, 			waste, and septage to which reference is made in the Ordinance shall be 			determined in accordance with the latest edition of Standard Methods by a 			laboratory certified under Wis. Admin. Code ch. NR 149.  Sampling 			methods, locations, times, durations, and frequencies are to be determined 			on an individual basis subject to approval by the City.

(ii)	Determination of the character and concentration of the industrial 				wastewater shall be made by the person discharging the wastewater or by 			their agent, as designated and required by the City.  The City may also 			make its own analyses of the wastes and these determinations shall be 			used as a basis for charges.  If the person discharging the waste contests 			the determination, the City may elect to have an independent laboratory 			determine the character and concentration of the waste.  Said independent 			laboratory shall be certified under Wis. Admin. Code ch. NR 149 and be 			reasonably acceptable to both the City and the person discharging the 			waste.  All costs incurred by the independent laboratory in making the 			determination shall be the responsibility of the discharger.

(k)	SUBMISSION OF INFORMATION.  Plans, specifications, and

any other pertinent information relating to proposed flow equalization, 	pretreatment, of wastewater processing facilities shall be submitted for review by 	the City and the City Engineer prior to the start of their construction if the effluent 	from such facilities is to be discharged into the public sewers.

(l)	SUBMISSION OF BASIC DATA.  Within three (3) months after the effective 	date of this Ordinance, each person who discharges industrial wastes to a public 	sewer shall prepare and file with the City, a report that shall include pertinent data 	relating to the quantity and characteristics of the waste discharged to the sewerage 	system.  The City shall be notified not less than 60 days in advance of 	implementation of any plans hat change the discharge of industrial waste by more 	than 15 percent of flow or strength.  Such a request shall be evaluated as provided 	in Section 7.12(a).

Similarly, each person desiring to make a new connection to a public sewer for 	the purpose of discharging industrial wastes shall prepare and file with the City a 	report that shall include actual or predicted data relating to the quantity and 	characteristics of the waste to be discharged.

Section 7.13	ANNUAL AUDIT

The City shall have conducted an independent annual audit, the purpose of which shall be to maintain the proportionality between users and user classes of the sewer use charge system and to ensure that adequate revenues are available relative to increasing operation, maintenance and replacement costs and debt service charges.  The findings and recommendations of this audit shall be available for public inspection.

Section 7.14	VIOLATIONS AND PENALTIES

(a)	DAMAGES.  No unauthorized person shall maliciously, willfully, or 			negligently break, damage, destroy, uncover, deface, or tamper with any 			structure or equipment that is a part of the wastewater facilities.  Any 			person violating this provision shall be subject to immediate arrest.

(b)	WRITTEN NOTICE OF VIOLATION.  Any person connected to the 			wastewater facilities found to be violating a provision of this Ordinance 			other than Section 7.14(a) shall be served by the City with a written notice 		stating the nature of the violation and providing a reasonable time 				for the satisfactory correction thereof.  The offender shall, within the 			period of time stated in such notice, permanently cease all violations.  In 			the event of an emergency the notice may be verbal.

Any licensed disposer discharging to the wastewater facilities found to be 			violating a provision of this Ordinance or of any conditions of the City’s 			approval for septage disposal may have their approval immediately 			revoked.  This revocation shall be done in writing and state the reasons for 		revoking the septate disposal approval.

(c)	DELETERIOUS DISCHARGE.  Any person found to be responsible for 	accidentally allowing a deleterious discharge into the wastewater facilities which 	causes damage to the wastewater facilities, wastewater treatment works, or 	receiving water body shall, in addition to a forfeiture, pay the amount to repair all 	damages, both of which will be stablished by the Common Council.

(d)	DISCHARGE REPORTING.  Any person responsible for a discharge that may 	have a detrimental impact on the sewerage system shall immediately report the 	nature and amount of the discharge to the City Clerk.

(e)	LIABILITY TO CITY FOR LOSSES.  Any person violating any provision of 	this Ordinance shall become liable to the City for any expense, loss, or damage 	occasioned by reason of such violation that the City might suffer as a result 	thereof.

(f)	DAMAGE RECOVERY.  The City shall have the right of recovery from all 	persons of any expense incurred for the repair or replacement of any part of the 	wastewater facilities or wastewater treatment works damaged in any manner by 	any person by the performance of any work under their control, or by any 	negligent or willful acts of that person or that person’s employees or agents.

(g)	PENALTIES

(1)	Any person who violates any of the provisions of this Ordinance or 			applicable City regulations, who connects a service pipe or discharges 			without first having obtained a permit, or who shall violate any provisions 			of the Wisconsin Statutes, Wisconsin Administrative Code, or any other 			material which are incorporated by reference, upon conviction of such 			violation shall forfeit not less than $50 nor more than $500, together with 			statutorily prescribed court costs and assessments.  This provision shall 			not bar the City from enforcing the mandatory connection requirement of 			Section 7.14(d).

(ii)	Any person, partnership, or corporation, or any officer, agent, or employee 		thereof, who shall continue any violation after the lapse of the time limit 			provided for cessation of a violation, upon conviction of such continuing 			violation, shall forfeit not less than five hundred ($500), together with 			statutorily prescribed court costs and assessments.  In default of payment 			of such forfeiture and costs, said violator shall be subject to imprisonment 			in the County Jail for a period not to exceed one (1) day for each $40 of 			unpaid forfeiture and costs.  Each day in which any violation is continued 			beyond the aforesaid notice time limit shall be deemed a separate offense.

(h)	APPEAL PROCEDURES.  Any user, affected by any decision, action, or 		determination, including cease and desist orders, made by the interpreting or 	implementing provisions of this Ordinance may file a written appeal with the City 	within ten (10) days of the date of such decision, action or determination, setting 	forth in detail the facts supporting the users’s appeal.  The City shall render a 	decision on the written appeal to the user in writing within thirty (30) days of 	receipt of appeal.  If the ruling on the request for reconsideration made by the City 	is unsatisfactory, the person requesting reconsideration may, within ten days after 	notification of the action, file a written appeal with the Common Council.  A fee 	of $100 shall accompany any appeal. This fee shall be refunded if the appeal is 	sustained in favor of the appellant.  This Section 7.14(h) shall not apply to any 	citation or pending court action.

Section 7.15	VALIDITY

(a)	REPEAL OF CONFLICTING ORDINANCES.  This Ordinance shall 			supersede all previous ordinances, resolutions, orders, or city regulations 			and shall repeal all parts thereof that may be in conflict with this 				Ordinance.  If there is any conflict between this Ordinance and any 			applicable Wisconsin Statute, the Statue shall be controlling.

(b)	SAVINGS CLAUSE.  If any provision of this Ordinance is found invalid 			or unconstitutional or if the application of this Ordinance to any person or 			circumstances is found to be invalid or unconstitutional, such invalidity or 			unconstitutionality shall not affect the other provisions or application of 			this Ordinance which can be given effect without the invalid or 				unconstitutional provision or application.

(c)	AMENDMENTS.  The City, through its duly qualified governing body, 			may ament this Ordinance in part or in whole whenever it may deem 			necessary.